## Numerical
Code | Analyte | Method | Unit | References
000.02 | Urea | As protein, Colorimetric | % | AOAC: 967.07
000.99 | Urea | Miscellaneous | %
001.00 | Loss on Drying | Vac 95°C 5 hr | % | AOAC: 934.01, AOCS: Ba2b-82
001.02 | Loss on Drying | Vac on sand | % | AOAC: 925.45
001.03 | Loss on Drying | Low temp. methods | % | ISO: 6496
001.05 | Loss on Drying | LECO | %
001.06 | Loss on Drying | Vac on pumice stone | % | AOAC: 925.45
001.07 | Loss on Drying | 104°C 3 hr, in malt | % | AOAC: 935.29
001.08 | Loss on Drying | 102°C 16 hr, in meat | % | AOAC: 950.46
001.99 | Loss on Drying | Miscellaneous | %
002.00 | Protein | Crude | % | AOAC: 954.01
002.01 | Protein | Auto Kjel-Foss | % | AOAC: 976.05
002.02 | Protein | Semiauto Autoanalyzer | % | AOAC: 976.06
002.03 | Protein | Hach Method | %
002.04 | Protein | Copper Catalyst | % | AOAC: 984.13
002.05 | Protein | Copper, Boric Acid | % | AOAC: 2001.11, ISO: 5983-2
002.06 | Protein | Combustion Nitrogen Analyzer | % | AOAC: 990.03, AOCS: Ba4e-93
002.07 | Protein | Block Digestion | % | AOAC: 976.06
002.08 | Protein | Cu/Ti | % | AOAC: 988.05, AOCS: Ba4d-90
002.09 | Protein | Selenium Catalyst | %
002.10 | Protein | Block dig/distillation | %
002.11 | Protein | NIR | %
002.12 | Protein | Crude Dig % Crude Protein | % | AOAC: 971.09
002.13 | Protein | Pespsin Ind % Crude Protein | % | AOAC: 971.09
002.14 | Protein | Pepsin Indigestible Residue | % | AOAC: 971.09
002.99 | Protein | Miscellaneous | %
003.00 | Fat | Eth Ext., Direct | % | AOAC: 920.39
003.01 | Fat | Ind Eth Ext (13th ed.), Indirect | % | AOAC: 920.39
003.04 | Fat | In Fish Meal | % | AOAC: 948.04
003.05 | Fat | Distillers Method | %
003.06 | Fat | Pet Ether | % | AOCS: Ba3-38
003.07 | Fat | Aqueous Extraction | % | AOAC: 920.39
003.09 | Fat | Soxtec, Eth Ext | % | AOAC: 2003.05
003.10 | Fat | Soxtec, Pet Ether | % | ISO: 11085
003.11 | Fat | NIR | %
003.12 | Fat | Hexane Ext | % | ISO: 6492
003.13 | Fat | Soxtec, Hexane Ext. | % | AOAC: 2003.06
003.14 | Fat | Ankom | % | AOCS: Am5-04
003.99 | Fat | Miscellaneous | %
004.00 | Fiber | Crude, Asbestos Free | % | AOAC: 962.09, AOCS: Ba6-84, ISO: 5498
004.01 | Fiber | Sing Filt | %
004.03 | Fiber | Fritted Glass | % | AOAC: 978.10
004.06 | Fiber | Fibertec | %
004.07 | Fiber | ANKOM | % | AOCS: Ba6a-05
004.11 | Fiber | NIR | %
004.99 | Fiber | Miscellaneous | %
005.00 | Ash | 2h @ 600°C | % | AOAC: 942.05, AOCS: Ba5a-49
005.01 | Ash | Sugars & Syrups | % | AOAC: 900.02
005.02 | Ash | LECO | %
005.03 | Ash | Microwave furnace | %
005.04 | Ash | Acid insoluble | % | AOCS: Ba5b-68
005.05 | Ash | 3h @ 550°C | % | ISO: 5984
005.11 | Ash | NIR | %
005.99 | Ash | Miscellaneous | %
006.00 | Total sugars | As sucrose | % | AOAC: 925.05
006.01 | Total sugars | Mod. Fehling Soln | % | AOAC: 974.06
006.02 | Total sugars | TSI L-E C-V | % | AOAC: 925.05
006.03 | Total sugars | Invert w/o Invrsn | % | AOAC: 970.58
006.04 | Total sugars | UNF Red Sub | % | AOAC: 948.23
006.05 | Total sugars | TSI, Lane-Eunon (12th) | % | AOAC: 923.09
006.99 | Total sugars | Miscellaneous | %
007.00 | Urease | Act pH Chng | % | AOCS: Ba9-58
007.99 | Urease | Miscellaneous | %
008.02 | Fiber | Acid Detergent | % | AOAC: 973.18, ISO: 13906
008.05 | Fiber | Acid Detergent-Hach | %
008.08 | Fiber | Acid Detergent, ANKOM | %
008.99 | Fiber | Acid Detergent Miscellaneous | %
009.04 | Fiber | Neutral Det-No ENZ Pretreat | %
009.07 | Fiber | Neutral Det-ENZ Pretreat | % | AOAC: 2002.04, ISO: 16472
009.09 | Fiber | Neutral Detergent, ANKOM | %
009.99 | Fiber | Neutral Det Miscellaneous | %
010.03 | Moisture | Karl-Fischer | % | AOAC: 2001.12
010.04 | Moisture | Toluene Dist | % | AOAC: 925.04
010.11 | Moisture | NIR | %
010.99 | Moisture | Miscellaneous | %
011.01 | Loss on Drying | 135°C 2hr | % | AOAC: 930.15
011.02 | Loss on Drying | 130°C for 2 hours | % | AOCS: Ba2a-38
011.03 | Loss on drying | 130°C, 1 hour, Flour | % | AOAC: 925.10
011.99 | Loss on Drying | High Temp. Methods Miscellaneous | %
012.00 | Starch | Polarimetric (Ewers) | % | ISO: 6493
012.01 | Starch | Megazyme | % | AOAC: 996.11
012.02 | Starch | Colorimetric (GOP) | %
012.03 | Starch | Enzymatic | %
012.04 | Starch | YSI Analyzer | %
012.11 | Starch | NIR | %
012.99 | Starch | Miscellaneous | %
013.00 | Fat | Acid hydrolysis | % | ISO: 6492
013.02 | Fat | Mojonnier, Bak Ext | % | AOAC: 954.02
013.03 | Fat | Roese-Gottlieb | % | AOAC: 932.02
013.08 | Fat | Roese-Gottlieb Modified | %
013.10 | Fat | Soxtec-Acid Hydrolysis | % | ISO: 11085
013.11 | Fat | Super Critical Fluid Extraction | %
013.12 | Fat | NIR- Acid Hydrolysis | %
013.13 | Fat | Ankom- Acid Hydrolysis | %
013.99 | Fat | Pretreat or extended ext., Misc | %
014.99 | Fiber, total dietary TDF | Miscellaneous | %
015.31 | Aluminum | AAS, Dry ash | mg / kg (ppm)
015.32 | Aluminum | AAS, Open vessel | mg / kg (ppm)
015.33 | Aluminum | AAS, Microwave | mg / kg (ppm)
015.41 | Aluminum | ICP, Dry ash | mg / kg (ppm)
015.42 | Aluminum | ICP, Open vessel | mg / kg (ppm)
015.43 | Aluminum | ICP, Microwave | mg / kg (ppm)
015.51 | Aluminum | ICP-MS, Dry ash | mg / kg (ppm)
015.52 | Aluminum | ICP-MS, Open vessel | mg / kg (ppm)
015.53 | Aluminum | ICP-MS, Microwave | mg / kg (ppm)
015.99 | Aluminum | Miscellaneous | mg / kg (ppm)
017.31 | Boron | AAS, Dry ash | mg / kg (ppm)
017.32 | Boron | AAS, Open vessel | mg / kg (ppm)
017.33 | Boron | AAS, Microwave | mg / kg (ppm)
017.41 | Boron | ICP, Dry ash | mg / kg (ppm)
017.42 | Boron | ICP, Open vessel | mg / kg (ppm)
017.43 | Boron | ICP, Microwave | mg / kg (ppm)
017.44 | Boron | ICP, Dry ash | mg / kg (ppm) | AOAC: 985.01
017.51 | Boron | ICP-MS, Dry ash | mg / kg (ppm)
017.52 | Boron | ICP-MS, Open vessel | mg / kg (ppm)
017.53 | Boron | ICP-MS, Microwave | mg / kg (ppm)
017.99 | Boron | Miscellaneous | mg / kg (ppm)
019.00 | Calcium | Ox-Mn04 Vol. | % | AOAC: 927.02
019.02 | Calcium | Hach Method | %
019.03 | Calcium | Semiauto (Autoanalyzer) | %
019.04 | Calcium | Em Spect | %
019.06 | Calcium | DCP | %
019.07 | Calcium | PreWet | %
019.08 | Calcium | EDTA | %
019.09 | Calcium | Ion-selective electrode | %
019.31 | Calcium | AAS, Dry ash | % | AOAC: 968.08
019.32 | Calcium | AAS, Open vessel | % | AOAC: 968.08
019.33 | Calcium | AAS, Microwave | % | AOAC: 968.08 (E)
019.34 | Calcium | AAS, Dry ash | % | AOAC: 975.03
019.35 | Calcium | AAS, Open vessel | % | AOAC: 975.03
019.41 | Calcium | ICP, Dry ash | % | AOAC: 968.08(D)
019.42 | Calcium | ICP, Open vessel | %
019.43 | Calcium | ICP, Microwave | %
019.44 | Calcium | ICP, Dry ash | % | AOAC: 985.01
019.51 | Calcium | ICP-MS, Dry ash | %
019.52 | Calcium | ICP-MS, Open vessel | %
019.53 | Calcium | ICP-MS, Microwave | %
019.99 | Calcium | Miscellaneous | %
021.00 | Cobalt | Color | mg / kg (ppm) | AOAC: 952.02
021.03 | Cobalt | DCP | mg / kg (ppm)
021.31 | Cobalt | AAS, Dry ash | mg / kg (ppm)
021.32 | Cobalt | AAS, Open vessel | mg / kg (ppm)
021.33 | Cobalt | AAS, Microwave | mg / kg (ppm)
021.34 | Cobalt | AAS, Graphite furnace | mg / kg (ppm)
021.41 | Cobalt | ICP, Dry ash | mg / kg (ppm)
021.42 | Cobalt | ICP, Open vessel | mg / kg (ppm)
021.43 | Cobalt | ICP, Microwave | mg / kg (ppm)
021.51 | Cobalt | ICP-MS, Dry ash | mg / kg (ppm)
021.52 | Cobalt | ICP-MS, Open vessel | mg / kg (ppm)
021.53 | Cobalt | ICP-MS, Microwave | mg / kg (ppm)
021.99 | Cobalt | Miscellaneous | mg / kg (ppm)
022.00 | Copper | Color | mg / kg (ppm) | AOAC: 947.03
022.02 | Copper | Em Spect | mg / kg (ppm) | AOAC: 953.01
022.04 | Copper | DCP | mg / kg (ppm)
022.31 | Copper | AAS, Dry ash | mg / kg (ppm) | AOAC: 968.08
022.32 | Copper | AAS, Open vessel | mg / kg (ppm) | AOAC: 968.08
022.33 | Copper | AAS, Microwave | mg / kg (ppm) | AOAC: 968.08 (E)
022.34 | Copper | AAS, Graphite furnace | mg / kg (ppm)
022.35 | Copper | AAS, Dry ash | mg / kg (ppm) | AOAC: 975.03
022.36 | Copper | AAS, Open vessel | mg / kg (ppm) | AOAC: 975.03
022.41 | Copper | ICP, Dry ash | mg / kg (ppm) | AOAC: 968.08 (D)
022.42 | Copper | ICP, Open vessel | mg / kg (ppm)
022.43 | Copper | ICP, Microwave | mg / kg (ppm)
022.44 | Copper | ICP, Dry ash | mg / kg (ppm) | AOAC: 985.01
022.51 | Copper | ICP-MS, Dry ash | mg / kg (ppm)
022.52 | Copper | ICP-MS, Open vessel | mg / kg (ppm)
022.53 | Copper | ICP-MS, Microwave | mg / kg (ppm)
022.99 | Copper | Miscellaneous | mg / kg (ppm)
023.00 | Fluorine | Color | mg / kg (ppm) | AOAC: 944.08
023.01 | Fluorine | Ion Sel Elect | mg / kg (ppm) | AOAC: 975.08
023.99 | Fluorine | Miscellaneous | mg / kg (ppm)
024.00 | Iodine | Knaph-Lamb | mg / kg (ppm) | AOAC: 934.02
024.01 | Iodine | Elm-Cald | mg / kg (ppm) | AOAC: 935.14
024.02 | Iodine | Iodized Salt | mg / kg (ppm) | AOAC: 925.56
024.03 | Iodine | Ion-selective electrode | mg / kg (ppm)
024.51 | Iodine | ICP-MS, Dry ash | mg / kg (ppm)
024.52 | Iodine | ICP-MS, Open vessel | mg / kg (ppm)
024.53 | Iodine | ICP-MS, Microwave | mg / kg (ppm)
024.99 | Iodine | Miscellaneous | mg / kg (ppm)
025.00 | Iron | Color | mg / kg (ppm) | AOAC: 935.12
025.02 | Iron | Em Spect | mg / kg (ppm) | AOAC: 953.01
025.04 | Iron | DCP | mg / kg (ppm)
025.31 | Iron | AAS, Dry ash | mg / kg (ppm) | AOAC: 968.08
025.32 | Iron | AAS, Open vessel | mg / kg (ppm) | AOAC: 968.08
025.33 | Iron | AAS, Microwave | mg / kg (ppm) | AOAC: 968.08 (E)
025.34 | Iron | AAS, Dry ash | mg / kg (ppm) | AOAC: 975.03
025.35 | Iron | AAS, Open vessel | mg / kg (ppm) | AOAC: 975.03
025.41 | Iron | ICP, Dry ash | mg / kg (ppm) | AOAC: 968.08 (D)
025.42 | Iron | ICP, Open vessel | mg / kg (ppm)
025.43 | Iron | ICP, Microwave | mg / kg (ppm)
025.51 | Iron | ICP-MS, Dry ash | mg / kg (ppm)
025.52 | Iron | ICP-MS, Open vessel | mg / kg (ppm)
025.53 | Iron | ICP-MS, Microwave | mg / kg (ppm)
025.99 | Iron | Miscellaneous | mg / kg (ppm)
027.00 | Magnesium | Grav Mg2P207 | % | AOAC: 937.01
027.02 | Magnesium | Em Spect | % | AOAC: 953.01
027.04 | Magnesium | DCP | %
027.06 | Magnesium | Hach Method | %
027.31 | Magnesium | AAS, Dry ash | % | AOAC: 968.08
027.32 | Magnesium | AAS, Open vessel | % | AOAC: 968.08
027.33 | Magnesium | AAS, Microwave | % | AOAC: 968.08 (E)
027.34 | Magnesium | AAS, Dry ash | % | AOAC: 975.03
027.35 | Magnesium | AAS, Open vessel | % | AOAC: 975.03
027.41 | Magnesium | ICP, Dry ash | % | AOAC: 968.08 (D)
027.42 | Magnesium | ICP, Open vessel | %
027.43 | Magnesium | ICP, Microwave | %
027.44 | Magnesium | ICP, Dry ash | % | AOAC: 985.01
027.51 | Magnesium | ICP-MS, Dry ash | %
027.52 | Magnesium | ICP-MS, Open vessel | %
027.53 | Magnesium | ICP-MS, Microwave | %
027.99 | Magnesium | Miscellaneous | %
028.00 | Manganese | Color | mg / kg (ppm) | AOAC: 917.04
028.02 | Manganese | Em Spect | mg / kg (ppm)
028.04 | Manganese | DCP | mg / kg (ppm)
028.31 | Manganese | AAS, Dry ash | mg / kg (ppm) | AOAC: 968.08
028.32 | Manganese | AAS, Open vessel | mg / kg (ppm) | AOAC: 968.08
028.33 | Manganese | AAS, Microwave | mg / kg (ppm) | AOAC: 968.08 (E)
028.34 | Manganese | AAS, Dry ash | mg / kg (ppm) | AOAC: 975.03
028.35 | Manganese | AAS, Open vessel | mg / kg (ppm) | AOAC: 975.03
028.41 | Manganese | ICP, Dry ash | mg / kg (ppm) | AOAC 968.08 (D)
028.42 | Manganese | ICP, Open vessel | mg / kg (ppm)
028.43 | Manganese | ICP, Microwave | mg / kg (ppm)
028.44 | Manganese | ICP, Dry ash | mg / kg (ppm) | AOAC: 985.01
028.51 | Manganese | ICP-MS, Dry ash | mg / kg (ppm)
028.52 | Manganese | ICP-MS, Open vessel | mg / kg (ppm)
028.53 | Manganese | ICP-MS, Microwave | mg / kg (ppm)
028.99 | Manganese | Miscellaneous | mg / kg (ppm)
030.00 | Nitrate | Color | % | AOAC: 968.07
030.01 | Nitrate | Ion-selective electrode | %
030.99 | Nitrate | Miscellaneous | %
031.00 | Phosphorus | Vol | % | AOAC: 964.06
031.01 | Phosphorus | Photometric | % | AOAC: 965.17
031.02 | Phosphorus | GQMP (AOAC 935.13-Extraction) | % | AOAC: 962.02
031.03 | Phosphorus | Autoanalyzer | %
031.04 | Phosphorus | Em Spect | % | AOAC: 953.01
031.06 | Phosphorus | Hach Method | %
031.07 | Phosphorus | DCP | %
031.08 | Phosphorus | PreWet | %
031.41 | Phosphorus | ICP, Dry ash | %
031.42 | Phosphorus | ICP, Open vessel | %
031.43 | Phosphorus | ICP, Microwave | %
031.44 | Phosphorus | ICP, Dry ash | % | AOAC: 985.01
031.51 | Phosphorus | ICP-MS, Dry ash | %
031.52 | Phosphorus | ICP-MS, Open vessel | %
031.53 | Phosphorus | ICP-MS, Microwave | %
031.99 | Phosphorus | Miscellaneous | %
032.00 | Potassium | Gravimetric | % | AOAC: 949.01
032.02 | Potassium | Flame Emission | % | AOAC: 956.01
032.03 | Potassium | STPB | %
032.04 | Potassium | Em Spect | % | AOAC: 953.01
032.06 | Potassium | DCP | %
032.07 | Potassium | Hach Method | %
032.08 | Potassium | Ion-selective electrode | %
032.31 | Potassium | AAS, Dry ash | % | AOAC: 975.03
032.32 | Potassium | AAS, Open vessel | % | AOAC: 975.03
032.33 | Potassium | AAS, Microwave | % | AOAC: 975.03 (C)
032.41 | Potassium | ICP, Dry ash | % | AOAC: 975.03 (B)
032.42 | Potassium | ICP, Open vessel | %
032.43 | Potassium | ICP, Microwave | %
032.44 | Potassium | ICP, Dry ash | % | AOAC: 985.01
032.51 | Potassium | ICP-MS, Dry ash | %
032.52 | Potassium | ICP-MS, Open vessel | %
032.53 | Potassium | ICP-MS, Microwave | %
032.99 | Potassium | Miscellaneous | %
033.00 | Salt as chloride | Sol Cl | % | AOAC: 943.01
033.01 | Salt as chloride | Poten Cl | % | AOAC: 969.10
033.03 | Salt as chloride | Quantab | %
033.04 | Salt as chloride | Hach Method | %
033.05 | Salt as chloride | Ion Sel Electrode | %
033.99 | Salt | Miscellaneous | %
034.00 | Selenium | DCP | mg / kg (ppm)
034.01 | Selenium | Fluor | mg / kg (ppm) | AOAC: 996.16
034.02 | Selenium | Grav, 11th ed. | mg / kg (ppm) | AOAC: 935.05
034.04 | Selenium | AA, Hydride | mg / kg (ppm) | AOAC: 996.17
034.31 | Selenium | AAS, Dry ash | mg / kg (ppm)
034.32 | Selenium | AAS, Open vessel | mg / kg (ppm)
034.33 | Selenium | AAS, Microwave | mg / kg (ppm)
034.34 | Selenium | AAS, Graphite furnace | mg / kg (ppm)
034.41 | Selenium | ICP, Dry ash | mg / kg (ppm)
034.42 | Selenium | ICP, Open vessel | mg / kg (ppm)
034.43 | Selenium | ICP, Microwave | mg / kg (ppm)
034.51 | Selenium | ICP-MS, Dry Ash | mg / kg (ppm)
034.52 | Selenium | ICP-MS, Open vessel | mg / kg (ppm)
034.53 | Selenium | ICP-MS, Microwave | mg / kg (ppm)
034.99 | Selenium | Miscellaneous | mg / kg (ppm)
035.01 | Sodium | Ion-selective electrode | %
035.02 | Sodium | Em Spect | % | AOAC: 935.01
035.04 | Sodium | DCP | %
035.05 | Sodium | Flame Emission | % | AOAC: 956.01
035.31 | Sodium | AAS, Dry ash | %
035.32 | Sodium | AAS, Open vessel | %
035.33 | Sodium | AAS, Microwave | %
035.41 | Sodium | ICP, Dry ash | %
035.42 | Sodium | ICP, Open vessel | %
035.43 | Sodium | ICP, Microwave | %
035.51 | Sodium | ICP-MS, Dry ash | %
035.52 | Sodium | ICP-MS, Open vessel | %
035.53 | Sodium | ICP-MS, Microwave | %
035.99 | Sodium | Miscellaneous | %
036.00 | Sulfur | Gravimetric | %
036.01 | Sulfur | Analyzer | %
036.02 | Sulfur | Turbidimetric | %
036.04 | Sulfur | LECO | %
036.42 | Sulfur | ICP, Open vessel | %
036.43 | Sulfur | ICP, Microwave | %
036.52 | Sulfur | ICP-MS, Open vessel | %
036.53 | Sulfur | ICP-MS, Microwave | %
036.99 | Sulfur | Miscellaneous | %
037.00 | Zinc | Dithizone | mg / kg (ppm) | AOAC: 941.03
037.02 | Zinc | DCP | mg / kg (ppm)
037.04 | Zinc | Em Spect | mg / kg (ppm) | AOAC: 953.01
037.31 | Zinc | AAS, Dry ash | mg / kg (ppm) | AOAC: 968.08
037.32 | Zinc | AAS, Open vessel | mg / kg (ppm) | AOAC: 968.08
037.33 | Zinc | AAS, Microwave | mg / kg (ppm) | AOAC: 968.08 (E)
037.34 | Zinc | AAS, Dry ash | mg / kg (ppm) | AOAC: 975.03
037.35 | Zinc | AAS, Open vessel | mg / kg (ppm) | AOAC: 975.03
037.41 | Zinc | ICP, Dry ash | mg / kg (ppm) | AOAC: 968.08 (D)
037.42 | Zinc | ICP, Open vessel | mg / kg (ppm)
037.43 | Zinc | ICP, Microwave | mg / kg (ppm)
037.44 | Zinc | ICP, Dry ash | mg / kg (ppm) | AOAC: 985.01
037.51 | Zinc | ICP-MS, Dry ash | mg / kg (ppm)
037.52 | Zinc | ICP-MS, Open vessel | mg / kg (ppm)
037.53 | Zinc | ICP-MS, Microwave | mg / kg (ppm)
037.99 | Zinc | Miscellaneous | mg / kg (ppm)
038.31 | Molybdenum | AAS, Dry ash | mg / kg (ppm)
038.32 | Molybdenum | AAS, Open vessel | mg / kg (ppm)
038.33 | Molybdenum | AAS, Microwave | mg / kg (ppm)
038.34 | Molybdenum | AAS, Graphite furnace | mg / kg (ppm)
038.41 | Molybdenum | ICP, Dry ash | mg / kg (ppm)
038.42 | Molybdenum | ICP, Open vessel | mg / kg (ppm)
038.43 | Molybdenum | ICP, Microwave | mg / kg (ppm)
038.51 | Molybdenum | ICP-MS, Dry ash | mg / kg (ppm)
038.52 | Molybdenum | ICP-MS, Open vessel | mg / kg (ppm)
038.53 | Molybdenum | ICP-MS, Microwave | mg / kg (ppm)
038.99 | Molybdenum | Miscellaneous | mg / kg (ppm)
040.31 | Barium | AAS, Dry ash | mg / kg (ppm)
040.32 | Barium | AAS, Open vessel | mg / kg (ppm)
040.33 | Barium | AAS, Microwave | mg / kg (ppm)
040.34 | Barium | AAS, Graphite furnace | mg / kg (ppm)
040.41 | Barium | ICP, Dry ash | mg / kg (ppm)
040.42 | Barium | ICP, Open vessel | mg / kg (ppm)
040.43 | Barium | ICP, Microwave | mg / kg (ppm)
040.51 | Barium | ICP-MS, Dry ash | mg / kg (ppm)
040.52 | Barium | ICP-MS, Open vessel | mg / kg (ppm)
040.53 | Barium | ICP-MS, Microwave | mg / kg (ppm)
040.99 | Barium | Miscellaneous | mg / kg (ppm)
041.31 | Vanadium | AAS, Dry ash | mg / kg (ppm)
041.32 | Vanadium | AAS, Open vessel | mg / kg (ppm)
041.33 | Vanadium | AAS, Microwave | mg / kg (ppm)
041.34 | Vanadium | AAS, Graphite furnace | mg / kg (ppm)
041.41 | Vanadium | ICP, Dry ash | mg / kg (ppm)
041.42 | Vanadium | ICP, Open vessel | mg / kg (ppm)
041.43 | Vanadium | ICP, Microwave | mg / kg (ppm)
041.51 | Vanadium | ICP-MS, Dry ash | mg / kg (ppm)
041.52 | Vanadium | ICP-MS, Open vessel | mg / kg (ppm)
041.53 | Vanadium | ICP-MS, Microwave | mg / kg (ppm)
041.99 | Vanadium | Miscellaneous | mg / kg (ppm)
042.00 | Chloride | Titrimetric | %
042.01 | Chloride | Ion-selective electrode | %
042.02 | Chloride | Ion Chromatography | %
042.99 | Chloride | Miscellaneous | %
045.00 | Amprolium | Color | mg / kg (ppm) | AOAC: 961.24
045.01 | Amprolium | Fluorometric | mg / kg (ppm) | AOAC: 965.47
045.02 | Amprolium | LC | mg / kg (ppm)
045.99 | Amprolium | Miscellaneous | mg / kg (ppm)
046.00 | Apramycin | Microbiological | mg / kg (ppm)
046.02 | Apramycin | LC | mg / kg (ppm)
046.99 | Apramycin | Miscellaneous | mg / kg (ppm)
047.00 | Arsanilic Acid | Spectrophotometer | mg / kg (ppm) | AOAC: 954.17
047.01 | Arsanilic Acid | Total As | mg / kg (ppm) | AOAC: 957.22
047.02 | Arsanilic Acid | LC | mg / kg (ppm)
047.99 | Arsanilic Acid | Miscellaneous | mg / kg (ppm)
048.00 | Bacitracin | Plate | mg / kg (ppm) | AOAC: 957.24
048.01 | Bacitracin | Plate MeOH Ext | mg / kg (ppm) | AOAC: 993.29
048.02 | Bacitracin | Turbidity | mg / kg (ppm)
048.04 | Bacitracin | LC | mg / kg (ppm) | AOAC: 982.44
048.99 | Bacitracin | Miscellaneous | mg / kg (ppm)
049.00 | Bambermycin | Plate | mg / kg (ppm)
049.99 | Bambermycin | Miscellaneous | mg / kg (ppm)
050.00 | Carbadox | Color | mg / kg (ppm) | AOAC: 977.35
050.01 | Carbadox | LC | mg / kg (ppm)
050.99 | Carbadox | Miscellaneous | mg / kg (ppm)
051.00 | Chlortetracycline | Plate | mg / kg (ppm) | AOAC: 967.39
051.01 | Chlortetracycline | Turbidity | mg / kg (ppm) | AOAC: 977.37
051.02 | Chlortetracycline | Chem Premix | mg / kg (ppm) | AOAC: JAOAC 46,47
051.03 | Chlortetracycline | LC | mg / kg (ppm)
051.99 | Chlortetracycline | Miscellaneous | mg / kg (ppm)
052.99 | Clopidol | Miscellaneous | mg / kg (ppm)
053.00 | Coumaphos | GLC | mg / kg (ppm)
053.01 | Coumaphos | Polarographic | mg / kg (ppm)
053.99 | Coumaphos | Miscellaneous | mg / kg (ppm)
054.00 | Decoquinate | Fluorometer | mg / kg (ppm) | AOAC: 969.55
054.01 | Decoquinate | LC | mg / kg (ppm)
054.02 | Decoquinate | LC | mg / kg (ppm) | AOAC: 2008.08
054.99 | Decoquinate | Miscellaneous | mg / kg (ppm)
055.00 | Erythromycin | Plate | mg / kg (ppm) | AOAC: 971.48
055.99 | Erythromycin | Miscellaneous | mg / kg (ppm)
056.00 | Ethopabate | Colorimeter | mg / kg (ppm) | AOAC: 964.29
056.01 | Ethopabate | LC UV | mg / kg (ppm)
056.02 | Ethopabate | LC-Fl | mg / kg (ppm)
056.99 | Ethopabate | Miscellaneous | mg / kg (ppm)
057.00 | Ethoxyquin | Fluorometer | mg / kg (ppm) | AOAC: 963.07
057.01 | Ethoxyquin | LC | mg / kg (ppm) | AOAC: 996.13
057.99 | Ethoxyquin | Miscellaneous | mg / kg (ppm)
058.00 | Furazolidone | Colorimeter | mg / kg (ppm) | AOAC: 960.63
058.01 | Furazolidone | LC | mg / kg (ppm) | AOAC: 985.51
058.99 | Furazolidone | Miscellaneous | mg / kg (ppm)
059.00 | Hygromycin B | Microbiological | Units / kg | AOAC: 960.67
059.99 | Hygromycin B | Miscellaneous | Units / kg
060.00 | Ipronidazole | GC-ECD | mg / kg (ppm) | AOAC: 971.44
060.01 | Ipronidazole | LC | mg / kg (ppm)
060.99 | Ipronidazole | Miscellaneous | mg / kg (ppm)
061.00 | Lasalocid Sodium | Microbiological | mg / kg (ppm) | AOAC: 975.60
061.01 | Lasalocid Sodium | Spectrophotometer | mg / kg (ppm) | AOAC: 975.61
061.02 | Lasalocid Sodium | LC | mg / kg (ppm)
061.03 | Lasalocid Sodium | LC, AOAC | mg / kg (ppm) | AOAC: 2008.01
061.99 | Lasalocid Sodium | Miscellaneous | mg / kg (ppm)
062.00 | Levamisole | HCI, GC | mg / kg (ppm)
062.01 | Levamisole | HCI, LC | mg / kg (ppm)
062.99 | Levamisole | Miscellaneous | mg / kg (ppm)
063.00 | Lincomycin | Plate | mg / kg (ppm) | AOAC: 967.40
063.99 | Lincomycin | Miscellaneous | mg / kg (ppm)
064.00 | Melengestrol Acetate | GLC | mg / kg (ppm) | AOAC: 980.36
064.01 | Melengestrol Acetate | LC | mg / kg (ppm)
064.99 | Melengestrol Acetate | Miscellaneous | mg / kg (ppm)
065.00 | Monensin | Plate | mg / kg (ppm) | AOAC: 972.56
065.01 | Monensin | Turbidity | mg / kg (ppm) | AOAC: 976.37
065.03 | Monensin | LC | mg / kg (ppm) | AOAC: 997.04
065.04 | Monensin | LC-PCD | mg / kg (ppm) | AOAC: 2006.01, ISO: 14183:2005
065.99 | Monensin | Miscellaneous | mg / kg (ppm)
066.00 | Neomycin | Microbiological | mg / kg (ppm) | AOAC: 970.89
066.99 | Neomycin | Miscellaneous | mg / kg (ppm)
067.00 | Nicarbazin | Spectrophotometer | mg / kg (ppm) | AOAC: 956.11
067.99 | Nicarbazin | Miscellaneous | mg / kg (ppm)
068.00 | Nitrofurazone | Colorimeter | mg / kg (ppm) | AOAC: 960.63
068.01 | Nitrofurazone | LC | mg / kg (ppm)
068.99 | Nitrofurazone | Miscellaneous | mg / kg (ppm)
069.00 | Nitromide | 3,5-Dinitrobenzamide | mg / kg (ppm) | AOAC: 959.18
069.01 | Nitromide | LC | mg / kg (ppm)
069.99 | Nitromide | Miscellaneous | mg / kg (ppm)
070.00 | Novobiocin | Microbiological | mg / kg (ppm) | AOAC: 962.25
070.99 | Novobiocin | Miscellaneous | mg / kg (ppm)
071.00 | Nystatin | Microbiological | mg / kg (ppm) | AOAC: 974.48
071.99 | Nystatin | Miscellaneous | mg / kg (ppm)
072.99 | Ormetroprim | Miscellaneous | mg / kg (ppm)
073.00 | Oxytetracycline | Plate | mg / kg (ppm) | AOAC: 968.50
073.01 | Oxytetracycline | Turbidity | mg / kg (ppm)
073.02 | Oxytetracycline | High Mineral Feed | mg / kg (ppm)
073.03 | Oxytetracycline | LC | mg / kg (ppm)
073.04 | Oxytetracycline | LC, AOAC | mg / kg (ppm) | AOAC: 2008.09
073.99 | Oxytetracycline | Miscellaneous | mg / kg (ppm)
074.00 | Penicillin | Plate | mg / kg (ppm) | AOAC: 967.41
074.01 | Penicillin | Ch Premix | mg / kg (ppm)
074.02 | Penicillin | LC | mg / kg (ppm)
074.99 | Penicillin | Miscellaneous | mg / kg (ppm)
075.00 | Phenothiazine | Spectrophotometer | mg / kg (ppm) | AOAC: 967.37
075.99 | Phenothiazine | Miscellaneous | mg / kg (ppm)
076.00 | Piperazine | Spectrophotometer | mg / kg (ppm) | AOAC: 967.38
076.99 | Piperazine | Miscellaneous | mg / kg (ppm)
077.00 | Pyrantel Tartrate | Spectrophotometer | mg / kg (ppm) | AOAC: 978.30
077.01 | Pyrantel Tartrate | LC | mg / kg (ppm)
077.99 | Pyrantel Tartrate | Miscellaneous | mg / kg (ppm)
078.00 | Roxarsone | Total As | mg / kg (ppm) | AOAC: 957.22
078.01 | Roxarsone | Color | mg / kg (ppm) | AOAC: 971.47
078.02 | Roxarsone | LC | mg / kg (ppm)
078.99 | Roxarsone | Miscellaneous | mg / kg (ppm)
079.00 | Salinomycin | Plate | mg / kg (ppm)
079.01 | Salinomycin | LC | mg / kg (ppm)
079.02 | Salinomycin | Turbidity | mg / kg (ppm)
079.03 | Salinomycin | LC-PCD | mg / kg (ppm) | AOAC: 2006.01, ISO: 14183:2005
079.99 | Salinomycin | Miscellaneous | mg / kg (ppm)
080.00 | Streptomycin | Microbiological | mg / kg (ppm) | AOAC: 971.49
080.99 | Streptomycin | Miscellaneous | mg / kg (ppm)
081.99 | Sulfadimethoxine | Miscellaneous | mg / kg (ppm)
082.00 | Sulfamethazine | Spectrophotometer | mg / kg (ppm) | AOAC: 969.57
082.01 | Sulfamethazine | LC | mg / kg (ppm)
082.02 | Sulfamethazine | LC-PCD | mg / kg (ppm) | AOAC: 999.16
082.99 | Sulfamethazine | Miscellaneous | mg / kg (ppm)
083.00 | Sulfanitran | APNPS | mg / kg (ppm) | AOAC: 963.34
083.01 | Sulfanitran | LC | mg / kg (ppm)
083.99 | Sulfanitran | Miscellaneous | mg / kg (ppm)
084.00 | Sulfaquinoxaline | Spectrophotometer | mg / kg (ppm) | AOAC: 963.35
084.01 | Sulfaquinoxaline | LC | mg / kg (ppm)
084.99 | Sulfaquinoxaline | Miscellaneous | mg / kg (ppm)
085.00 | Sulfathiazole | Color | mg / kg (ppm)
085.01 | Sulfathiazole | LC | mg / kg (ppm)
085.02 | Sulfathiazole | LC-PCD | mg / kg (ppm) | AOAC: 999.16
085.99 | Sulfathiazole | Miscellaneous | mg / kg (ppm)
086.00 | Tiamulin | LC | mg / kg (ppm)
086.99 | Tiamulin | Miscellaneous | mg / kg (ppm)
087.00 | Thiabendazole | Spectrophotometer | mg / kg (ppm) | AOAC: 966.28
087.01 | Thiabendazole | LC | mg / kg (ppm)
087.99 | Thiabendazole | Miscellaneous | mg / kg (ppm)
088.00 | Tylosin | Plate | mg / kg (ppm) | AOAC: 962.26
088.01 | Tylosin | Turbidity | mg / kg (ppm)
088.02 | Tylosin | Plate w Hyd | mg / kg (ppm)
088.03 | Tylosin | LC | mg / kg (ppm)
088.99 | Tylosin | Miscellaneous | mg / kg (ppm)
089.00 | Virginiamycin | Plate | mg / kg (ppm)
089.99 | Virginiamycin | Miscellaneous | mg / kg (ppm)
090.00 | Zoalene | Spectrophotometer | mg / kg (ppm) | AOAC: 961.26
090.01 | Zoalene | LC | mg / kg (ppm)
090.99 | Zoalene | Miscellaneous | mg / kg (ppm)
091.01 | Narasin | LC-PCD | mg / kg (ppm) | AOAC: 2006.01, ISO: 14183:2005
091.99 | Narasin | Miscellaneous | mg / kg (ppm)
092.99 | Fenbendazole | Miscellaneous | mg / kg (ppm)
093.00 | Ractopamine Hydrochloride | LC | mg / kg (ppm)
093.99 | Ractopamine Hydrochloride | Miscellaneous | mg / kg (ppm)
094.01 | Dichlorvos | GC/PND | mg/kg (ppm)
094.02 | Dichlorvos | GC/MS | mg/kg (ppm)
094.99 | Dichlorvos | Miscellaneous | mg/kg (ppm)
095.01 | Methoprene | LC (UV or FL) | mg/kg (ppm)
095.02 | Methoprene | Immunoassay | mg/kg (ppm)
095.03 | Methoprene | GC | mg/kg (ppm)
095.99 | Methoprene | Miscellaneous | mg/kg (ppm)
096.01 | Tetrachlorvinphos | GC | mg/kg (ppm)
096.99 | Tetrachlorvinphos | Miscellaneous | mg/kg (ppm)
097.01 | Ivermectin | LC (UV or FL) | mg/kg (ppm)
097.99 | Ivermectin | Miscellaneous | mg/kg (ppm)
099.00 | Menadione (form) | GC | mg / kg (ppm) | AOAC: 974.30
099.01 | Menadione (form) | LC | mg / kg (ppm)
099.99 | Menadione (form) | Miscellaneous | mg / kg (ppm)
100.00 | Carotene | Spectrophotometer | mg / kg (ppm) | AOAC: 970.64
100.01 | Carotene | LC | mg / kg (ppm)
100.99 | Carotene | Miscellaneous | mg / kg (ppm)
101.00 | Choline Chloride | Microbiological | mg / kg (ppm)
101.01 | Choline Chloride | Chem | mg / kg (ppm)
101.02 | Choline Chloride | LC | mg / kg (ppm)
101.99 | Choline Chloride | Miscellaneous | mg / kg (ppm)
102.00 | Niacin | Chem | mg / kg (ppm) | AOAC: 961.14
102.01 | Niacin | Microbiological | mg / kg (ppm) | AOAC: 944.13
102.02 | Niacin | LC | mg / kg (ppm)
102.99 | Niacin | Miscellaneous | mg / kg (ppm)
103.00 | Pantothenic Acid | Titrimetric | mg / kg (ppm) | AOAC: 945.74
103.01 | Pantothenic Acid | Microbiological | mg / kg (ppm) | AOAC: 945.74
103.02 | Pantothenic Acid | LC | mg / kg (ppm)
103.99 | Pantothenic Acid | Miscellaneous | mg / kg (ppm)
104.00 | Riboflavin | Fluorometric | mg / kg (ppm) | AOAC: 970.65
104.01 | Riboflavin | Microbiological | mg / kg (ppm) | AOAC: 940.33
104.02 | Riboflavin | Microbiological, Turbidity | mg / kg (ppm) | AOAC: 940.33
104.03 | Riboflavin | LC | mg / kg (ppm)
104.99 | Riboflavin | Miscellaneous | mg / kg (ppm)
105.00 | Thiamine | LC | mg / kg (ppm)
105.01 | Thiamine | Fluorometer | mg / kg (ppm) | AOAC: 942.23
105.99 | Thiamine | Miscellaneous | mg / kg (ppm)
106.00 | Vitamin A | Color | KU / kg | AOAC: 974.29
106.01 | Vitamin A | UV | KU / kg
106.02 | Vitamin A | LC | KU / kg
106.99 | Vitamin A | Miscellaneous | KU / kg
107.00 | Vitamin B12 | Microbiological | µg / kg (ppb) | AOAC: 952.20
107.99 | Vitamin B12 | Miscellaneous | µg / kg (ppb)
108.01 | Vitamin D3 | LC, AOAC | KU / kg | AOAC: 982.29
108.02 | Vitamin D3 | LC | KU / kg
108.99 | Vitamin D3 | Miscellaneous | KU / kg
109.00 | Vitamin E | Colorimeter | mg / kg (ppm) | AOAC: 948.26
109.01 | Vitamin E | TLC / Spectrophotometer | mg / kg (ppm) | AOAC: 971.30
109.02 | Vitamin E | LC | mg / kg (ppm)
109.99 | Vitamin E | Miscellaneous | mg / kg (ppm)
110.00 | Xanthophyll | Spectrophotometer | mg / kg (ppm) | AOAC: 970.64
110.99 | Xanthophyll | Miscellaneous | mg / kg (ppm)
111.00 | Vitamin C, phosphorylated | LC | mg / kg (ppm)
111.01 | Vitamin C, Ascorbic Acid | LC | mkg/kg (ppm)
111.98 | Vitamin C, Ascorbic Acid | Miscellaneous | mkg/kg (ppm)
111.99 | Vitamin C, phosphorylated | Miscellaneous | mg / kg (ppm)
112.00 | Pyridoxine | Vitamin B6 | µg / g | AOAC: 961.15
112.01 | Pyridoxine | LC | µg / g
112.99 | Pyridoxine | Miscellaneous | µg / g
113.01 | Folic Acid | Micro | mg / kg (ppm) | AOAC: 944.12
113.02 | Folic acid | LC | mg / kg (ppm)
113.99 | Folic acid | Miscellaneous | mg / kg (ppm)
114.01 | Biotin | Microbiological | mg / kg (ppm)
114.99 | Biotin | Miscellaneous | mg / kg (ppm)
115.00 | Non Protein N (NPN) | Urea + Am, Urease method | % | AOAC: 941.04
115.01 | Non Protein N (NPN) | Automated | %
115.99 | Non Protein N (NPN) | Miscellaneous | %
116.01 | Biuret | LC | %
116.99 | Triuret | Miscellaneous | %
117.01 | Triuret | LC | %
117.99 | Triuret | Miscellaneous | %
118.01 | Peroxide value | Titrimetric Method | meq/kg | AOAC 965.33, AOCS Cd8-53
118.99 | Peroxide value | Miscellaneous | meq/kg
120.00 | Alanine | Post-col Ninhydrin Der | % | AOAC: 994.12
120.01 | Alanine | Pre-col OPA Der | %
120.02 | Alanine | Post-col OPA Der | %
120.03 | Alanine | Pre-col Dansyl Cl Der | %
120.04 | Alanine | Pre-col FMOC Der | %
120.05 | Alanine | Pre-col AQC Der | %
120.99 | Alanine | Miscellaneous | %
121.00 | Arginine | Post-col Ninhydrin Der | % | AOAC: 994.12
121.01 | Arginine | Pre-col OPA Der | %
121.02 | Arginine | Post-col OPA Der | %
121.03 | Arginine | Pre-col Dansyl Cl Der | %
121.04 | Arginine | Pre-col FMOC Der | %
121.05 | Arginine | Pre-col AQC Der | %
121.99 | Arginine | Miscellaneous | %
122.00 | Aspartic | Post-col Ninhydrin Der | % | AOAC: 994.12
122.01 | Aspartic | Pre-col OPA Der | %
122.02 | Aspartic | Post-col OPA Der | %
122.03 | Aspartic | Pre-col Dansyl Cl Der | %
122.04 | Aspartic | Pre-col FMOC Der | %
122.05 | Aspartic | Pre-col AQC Der | %
122.99 | Aspartic | Miscellaneous | %
124.00 | Cysteine/Cystine | PAO Post-col Ninhydri | % | AOAC: 994.12
124.01 | Cysteine/Cystine | PAO Pre-col OPA Der | %
124.02 | Cysteine/Cystine | PAO Post-col OPA Der | %
124.03 | Cysteine/Cystine | PAO Pre-col Dansyl Cl | %
124.04 | Cysteine/Cystine | PAO Pre-col FMOC Der | %
124.05 | Cysteine/Cystine | PAO Pre-col AQC Der | %
124.99 | Cysteine/Cystine | Miscellaneous | %
125.00 | Glutamic | Post-col Ninhydrin Der | % | AOAC: 994.12
125.01 | Glutamic | Pre-col OPA Der | %
125.02 | Glutamic | Post-col OPA Der | %
125.03 | Glutamic | Pre-col Dansyl Cl Der | %
125.04 | Glutamic | Pre-col FMOC Der | %
125.05 | Glutamic | Pre-col AQC Der | %
125.99 | Glutamic | Miscellaneous | %
126.00 | Glycine | Post-col Ninhydrin Der | % | AOAC: 994.12
126.01 | Glycine | Pre-col OPA Der | %
126.02 | Glycine | Post-col OPA Der | %
126.03 | Glycine | Pre-col Dansyl Cl Der | %
126.04 | Glycine | Pre-col FMOC Der | %
126.05 | Glycine | Pre-col AQC Der | %
126.99 | Glycine | Miscellaneous | %
127.00 | Histidine | Post-col Ninhydrin Der | % | AOAC: 994.12
127.01 | Histidine | Pre-col OPA Der | %
127.02 | Histidine | Post-col OPA Der | %
127.03 | Histidine | Pre-col Dansyl Cl Der | %
127.04 | Histidine | Pre-col FMOC Der | %
127.05 | Histidine | Pre-col AQC Der | %
127.99 | Histidine | Miscellaneous | %
128.00 | Isoleucine | Post-col Ninhydrin Der | % | AOAC: 994.12
128.01 | Isoleucine | Pre-col OPA Der | %
128.02 | Isoleucine | Post-col OPA Der | %
128.03 | Isoleucine | Pre-col Dansyl Cl Der | %
128.04 | Isoleucine | Pre-col FMOC Der | %
128.05 | Isoleucine | Pre-col AQC Der | %
128.99 | Isoleucine | Miscellaneous | %
129.00 | Leucine | Post-col Ninhydrin Der | % | AOAC: 994.12
129.01 | Leucine | Pre-col OPA Der | %
129.02 | Leucine | Post-col OPA Der | %
129.03 | Leucine | Pre-col Dansyl Cl Der | %
129.04 | Leucine | Pre-col FMOC Der | %
129.05 | Leucine | Pre-col AQC Der | %
129.99 | Leucine | Miscellaneous | %
130.00 | L-Lysine | Post-col Ninhydrin Der | % | AOAC: 994.12
130.01 | L-Lysine | Pre-col OPA Der | %
130.02 | L-Lysine | Post-col OPA Der | %
130.03 | L-Lysine | Pre-col Dansyl Cl Der | %
130.04 | L-Lysine | Pre-col FMOC Der | %
130.05 | L-Lysine | Pre-col AQC Der | %
130.99 | L-Lysine | Miscellaneous | %
131.00 | Methionine | PAO Post-col Ninhydrin Der | % | AOAC: 994.12
131.01 | Methionine | PAO Pre-col OPA Der | %
131.02 | Methionine | PAO Post-col OPA Der | %
131.03 | Methionine | PAO Pre-col Dansyl Cl Der | %
131.04 | Methionine | PAO Pre-col FMOC Der | %
131.05 | Methionine | PAO Pre-col AQC Der | %
131.99 | Methionine | Miscellaneous | %
132.00 | Phenylalanine | Post-col Ninhydrin Der | % | AOAC: 994.12
132.01 | Phenylalanine | Pre-col OPA Der | %
132.02 | Phenylalanine | Post-col OPA Der | %
132.03 | Phenylalanine | Pre-col Dansyl Cl Der | %
132.04 | Phenylalanine | Pre-col FMOC Der | %
132.05 | Phenylalanine | Pre-col AQC Der | %
132.99 | Phenylalanine | Miscellaneous | %
133.00 | Proline | Post-col Ninhydrin Der | % | AOAC: 994.12
133.03 | Proline | Pre-col Dansyl Cl Der | %
133.04 | Proline | Pre-col FMOC Der | %
133.05 | Proline | Pre-col AQC Der | %
133.99 | Proline | Miscellaneous | %
134.00 | Serine | Post-col Ninhydrin Der | % | AOAC: 994.12
134.01 | Serine | Pre-col OPA Der | %
134.02 | Serine | Post-col OPA Der | %
134.03 | Serine | Pre-col Dansyl Cl Der | %
134.04 | Serine | Pre-col FMOC Der | %
134.05 | Serine | Pre-col AQC Der | %
134.99 | Serine | Miscellaneous | %
135.00 | Threonine | Post-col Ninhydrin Der | % | AOAC: 994.12
135.01 | Threonine | Pre-col OPA Der | %
135.02 | Threonine | Post-col OPA Der | %
135.03 | Threonine | Pre-col Dansyl Cl Der | %
135.04 | Threonine | Pre-col FMOC Der | %
135.05 | Threonine | Pre-col AQC Der | %
135.99 | Threonine | Miscellaneous | %
136.00 | Tryptophan | Alka-Hydrol Post-col Ninhyd | % | AOAC: 988.15
136.01 | Tryptophan | Alka-Hydrol Rev Phase LC UV | %
136.02 | Tryptophan | Alka-Hydrol Post-col OPA De | %
136.03 | Tryptophan | Alka-Hydrol + IS RP LC Fl | % | ISO: 13904:2005
136.05 | Tryptophan | Pre-col AQC Der | %
136.99 | Tryptophan | Miscellaneous | %
137.00 | Tyrosine | Post-col Ninhydrin Der | % | AOAC: 994.12
137.01 | Tyrosine | Pre-col OPA Der | %
137.02 | Tyrosine | Post-col OPA Der | %
137.03 | Tyrosine | Pre-col Dansyl Cl Der | %
137.04 | Tyrosine | Pre-col FMOC Der | %
137.05 | Tyrosine | Pre-col AQC Der | %
137.99 | Tyrosine | Miscellaneous | %
138.00 | Valine | Post-col Ninhydrin Der | % | AOAC: 994.12
138.01 | Valine | Pre-col OPA Der | %
138.02 | Valine | Post-col OPA Der | %
138.03 | Valine | Pre-col Dansyl Cl Der | %
138.04 | Valine | Pre-col FMOC Der | %
138.05 | Valine | Pre-col AQC Der | %
138.99 | Valine | Miscellaneous | %
139.00 | Taurine | Post-col Ninhydrin Der | % | AOAC: 994.12
139.01 | Taurine | Pre-col OPA Der | %
139.02 | Taurine | Post-col OPA Der | %
139.03 | Taurine | Pre-col Dansyl Cl Der | % | AOAC: 999.12
139.04 | Taurine | Pre-col FMOC Der | %
139.05 | Taurine | Pre-col AQC Der | %
139.99 | Taurine | Miscellaneous | %
140.01 | Lysine Free | LC-PCD | % | AOAC: 999.13
141.00 | Methionine Free | LC-PCD | % | AOAC: 999.13
142.00 | Threonine Free | LC-PCD | % | AOAC: 999.13
143.00 | Lysine Available | HPLC | % | AOAC: 975.44
144.00 | Isoleucine, free | LC-PCD | % | AOAC: 999.13
145.00 | Tryptophan, free | LC-PCD | % | AOAC: 999.13
146.00 | Valine, free | LC-PCD | % | AOAC: 999.13
150.00 | Phytase | Colorimetric | Units / kg | AOAC: 2000.12
150.99 | Phytase | Miscellaneous | Units / kg
160.99 | Fructose | Miscellaneous | %
161.99 | Galactose | Miscellaneous | %
162.99 | Glucose | Miscellaneous | %
163.99 | Lactose | Miscellaneous | %
164.99 | Maltose | Miscellaneous | %
165.99 | Sucrose | Miscellaneous | %
166.99 | Raffinose | Miscellaneous | %
167.99 | Stachyose | Miscellaneous | %
200.99 | Arachidonic Acid | Miscellaneous | %
210.99 | Linoleic Acid | Miscellaneous | %
211.01 | Tylvalosin tartarate | LC (UV or FL) | mg/kg (ppm)
211.02 | Tylvalosin tartarate | LC-MS | mg/kg (ppm)
211.99 | Tylvalosin tartarate | Miscellaneous | mg/kg (ppm)
212.01 | Nitarsone (4-nitrophenylarsonic acid) | Spectrophotometric | mg/kg (ppm) | AOAC 970.86
212.02 | Nitarsone (4-nitrophenylarsonic acid) | LC (UV or FL) | mg/kg (ppm)
212.03 | Nitarsone (4-nitrophenylarsonic acid) | LC-MS | mg/kg (ppm)
212.99 | Nitarsone (4-nitrophenylarsonic acid) | Miscellaneous | mg/kg (ppm)
213.01 | Tilmicosin | LC (UV or FL) | mg/kg (ppm)
213.02 | Tilmicosin | LC-MS | mg/kg (ppm)
213.99 | Tilmicosin | Miscellaneous | mg/kg (ppm)
214.01 | Semduramicin sodium | LC (UV or FL) | mg/kg (ppm)
214.02 | Semduramicin sodium | Plate assay | mg/kg (ppm)
214.03 | Semduramicin sodium | LC-MS | mg/kg (ppm)
214.99 | Semduramicin sodium | Miscellaneous | mg/kg (ppm)
215.01 | Diclazuril | LC (UV or FL) | mg/kg (ppm)
215.02 | Diclazuril | GC-ECD | mg/kg (ppm)
215.99 | Diclazuril | Miscellaneous | mg/kg (ppm)
216.01 | Halofuginone | LC (UV or FL) | mg/kg (ppm)
216.02 | Halofuginone | LC-MS | mg/kg (ppm)
216.99 | Halofuginone | Miscellaneous | mg/kg (ppm)
217.01 | Maduramicin | LC (UV or FL) | mg/kg (ppm)
217.02 | Maduramicin | Plate assay | mg/kg (ppm)
217.03 | Maduramicin | ELISA | mg/kg (ppm)
217.04 | Maduramicin | LC-MS | mg/kg (ppm)
217.99 | Maduramicin | Miscellaneous | mg/kg (ppm)
218.01 | Spectinomycin | Plate Assay | mg/kg (ppm) | AOAC 973.81
218.02 | Spectinomycin | LC (UV or FL) | mg/kg (ppm)
218.03 | Spectinomycin | LC-MS | mg/kg (ppm)
218.99 | Spectinomycin | Miscellaneous | mg/kg (ppm)
219.01 | Morantel tartrate | LC (UV or FL) | mg/kg (ppm)
219.99 | Morantel tartrate | Miscellaneous | mg/kg (ppm)
220.01 | Robenidine | Spectrophotometric | mg/kg (ppm)
220.02 | Robenidine | LC (UV or FL) | mg/kg (ppm)
220.99 | Robenidine | Miscellaneous | mg/kg (ppm)
221.01 | Poloxalene | Spectrophotometric | mg/kg (ppm)
221.02 | Poloxalene | LC (UV or FL) | mg/kg (ppm)
221.99 | Poloxalene | Miscellaneous | mg/kg (ppm)
222.01 | Zilpaterol | LC (UV or FL) | mg/kg (ppm)
222.02 | Zilpaterol | LC-MS | mg/kg (ppm)
222.99 | Zilpaterol | Miscellaneous | mg/kg (ppm)
311.01 | Tylvalosin tartarate, residual | LC (UV or FL) | ug/kg (ppb)
311.02 | Tylvalosin tartarate, residual | LC-MS | ug/kg (ppb)
311.03 | Tylvalosin tartarate, residual | LC-MS/MS | ug/kg (ppb)
311.99 | Tylvalosin tartarate, residual | Miscellaneous | ug/kg (ppb)
312.01 | Nitarsone (4-nitrophenylarsonic acid), residual | Spectrophotometric | ug/kg (ppb)
312.02 | Nitarsone (4-nitrophenylarsonic acid), residual | LC (UV or FL) | ug/kg (ppb)
312.03 | Nitarsone (4-nitrophenylarsonic acid), residual | LC-MS | ug/kg (ppb)
312.04 | Nitarsone (4-nitrophenylarsonic acid), residual | LC-MS/MS | ug/kg (ppb)
312.99 | Nitarsone (4-nitrophenylarsonic acid), residual | Miscellaneous | ug/kg (ppb)
313.01 | Tilmicosin, residual | LC (UV or FL) | ug/kg (ppb)
313.02 | Tilmicosin, residual | LC-MS | ug/kg (ppb)
313.03 | Tilmicosin, residual | LC-MS/MS | ug/kg (ppb)
313.99 | Tilmicosin, residual | Miscellaneous | ug/kg (ppb)
314.01 | Semduramicin sodium, residual | LC (UV or FL) | ug/kg (ppb)
314.02 | Semduramicin sodium, residual | LC-MS | ug/kg (ppb)
314.03 | Semduramicin sodium, residual | LC-MS/MS | ug/kg (ppb)
314.99 | Semduramicin sodium, residual | Miscellaneous | ug/kg (ppb)
315.01 | Diclazuril, residual | LC (UV or FL) | ug/kg (ppb)
315.02 | Diclazuril, residual | LC-MS | ug/kg (ppb)
315.03 | Diclazuril, residual | LC-MS/MS | ug/kg (ppb)
315.04 | Diclazuril, residual | GC-ECD | ug/kg (ppb)
315.05 | Diclazuril, residual | GC-MS | ug/kg (ppb)
315.99 | Diclazuril, residual | Miscellaneous | ug/kg (ppb)
316.01 | Halofuginone, residual | LC (UV or FL) | ug/kg (ppb)
316.02 | Halofuginone, residual | LC-MS | ug/kg (ppb)
316.03 | Halofuginone, residual | LC-MS/MS | ug/kg (ppb)
316.99 | Halofuginone, residual | Miscellaneous | ug/kg (ppb)
317.01 | Maduramicin, residual | LC (UV or FL) | ug/kg (ppb)
317.02 | Maduramicin, residual | LC-MS | ug/kg (ppb)
317.03 | Maduramicin, residual | LC-MS/MS | ug/kg (ppb)
317.99 | Maduramicin, residual | Miscellaneous | ug/kg (ppb)
318.01 | Spectinomycin, residual | LC (UV or FL) | ug/kg (ppb)
318.02 | Spectinomycin, residual | LC-MS | ug/kg (ppb)
318.03 | Spectinomycin, residual | LC-MS/MS | ug/kg (ppb)
318.99 | Spectinomycin, residual | Miscellaneous | ug/kg (ppb)
319.01 | Morantel tartrate, residual | LC (UV or FL) | ug/kg (ppb)
319.02 | Morantel tartrate, residual | LC-MS | ug/kg (ppb)
319.03 | Morantel tartrate, residual | LC-MS/MS | ug/kg (ppb)
319.99 | Morantel tartrate, residual | Miscellaneous | ug/kg (ppb)
320.01 | Robenidine, residual | LC (UV or FL) | ug/kg (ppb)
320.02 | Robenidine, residual | LC-MS | ug/kg (ppb)
320.03 | Robenidine, residual | LC-MS/MS | ug/kg (ppb)
320.99 | Robenidine, residual | Miscellaneous | ug/kg (ppb)
321.01 | Poloxalene, residual | LC (UV or FL) | ug/kg (ppb)
321.02 | Poloxalene, residual | LC-MS | ug/kg (ppb)
321.03 | Poloxalene, residual | LC-MS/MS | ug/kg (ppb)
321.99 | Poloxalene, residual | Miscellaneous | ug/kg (ppb)
322.01 | Zilpaterol, residual | LC (UV or FL) | ug/kg (ppb)
322.02 | Zilpaterol, residual | LC-MS | ug/kg (ppb)
322.03 | Zilpaterol, residual | LC-MS/MS | ug/kg (ppb)
322.99 | Zilpaterol, residual | Miscellaneous | ug/kg (ppb)
345.00 | Amprolium, residual | Colorimetric | µg / kg (ppb)
345.01 | Amprolium, residual | Fluorometric | µg / kg (ppb)
345.02 | Amprolium, residual | LC | µg / kg (ppb)
345.03 | Amprolium, residual | LC-MS | µg / kg (ppb)
345.04 | Amprolium, residual | LC-MS/MS | µg / kg (ppb)
345.99 | Amprolium, residual | Miscellaneous | µg / kg (ppb)
346.00 | Apramycin, residual | Microbiological | µg / kg (ppb)
346.01 | Apramycin, residual | LC | µg / kg (ppb)
346.02 | Apramycin, residual | LC-MS | µg / kg (ppb)
346.03 | Apramycin, residual | LC-MS/MS | µg / kg (ppb)
346.99 | Apramycin, residual | Miscellaneous | µg / kg (ppb)
347.00 | Arsanilic Acid, residual | Spectrophotometer | µg / kg (ppb)
347.01 | Arsanilic Acid, residual | Total As | µg / kg (ppb)
347.02 | Arsanilic Acid, residual | LC | µg / kg (ppb)
347.03 | Arsanilic Acid, residual | LC-MS | µg / kg (ppb)
347.04 | Arsanilic acid, residual | LC-MS/MS | µg / kg (ppb)
347.99 | Arsanilic Acid, residual | Miscellaneous | µg / kg (ppb)
348.00 | Bacitracin, residual | Plate | µg / kg (ppb)
348.01 | Bacitracin, residual | Plate, methanol extraction | µg / kg (ppb)
348.02 | Bacitracin, residual | Turbidity | µg / kg (ppb)
348.03 | Bacitracin, residual | LC | µg / kg (ppb)
348.04 | Bacitracin, residual | LC-MS | µg / kg (ppb)
348.05 | Bacitracin, residual | LC-MS/MS | µg / kg (ppb)
348.99 | Bacitracin, residual | Miscellaneous | µg / kg (ppb)
349.00 | Bambermycin, residual | Plate | µg / kg (ppb)
349.01 | Bambermycin, residual | LC-MS | µg / kg (ppb)
349.02 | Bambermycin, residual | LC-MS/MS | µg / kg (ppb)
349.99 | Bambermycin, residual | Miscellaneous | µg / kg (ppb)
350.00 | Carbadox, residual | Colorimetric | µg / kg (ppb)
350.01 | Carbadox, residual | LC | µg / kg (ppb)
350.02 | Carbadox, residual | LC-MS | µg / kg (ppb)
350.03 | Carbadox, residual | LC-MS/MS | µg / kg (ppb)
350.99 | Carbadox, residual | Miscellaneous | µg / kg (ppb)
351.00 | Chlortetracycline, residual | Plate | µg / kg (ppb)
351.01 | Chlortetracycline, residual | Turbidity | µg / kg (ppb)
351.02 | Chlortetracycline, residual | Premix | µg / kg (ppb)
351.03 | Chlortetracycline, residual | LC | µg / kg (ppb)
351.04 | Chlortetracycline, residual | LC-MS | µg / kg (ppb)
351.05 | Chlortetracycline, residual | LC-MS/MS | µg / kg (ppb)
351.99 | Chlortetracycline, residual | Miscellaneous | µg / kg (ppb)
352.00 | Clopidol, residual | LC-MS | µg / kg (ppb)
352.02 | Clopidol, residual | LC-MS/MS | µg / kg (ppb)
352.99 | Clopidol, residual | Miscellaneous | µg / kg (ppb)
353.00 | Coumaphos, residual | GC | µg / kg (ppb)
353.01 | Coumaphos, residual | Polarographic | µg / kg (ppb)
353.02 | Coumaphos, residual | LC-MS | µg / kg (ppb)
353.03 | Coumaphos, residual | LC-MS/MS | µg / kg (ppb)
353.99 | Coumaphos, residual | Miscellaneous | µg / kg (ppb)
354.00 | Decoquinate, residual | Fluorometric | µg / kg (ppb)
354.01 | Decoquinate, residual | LC | µg / kg (ppb)
354.02 | Decoquinate, residual | LC-MS | µg / kg (ppb)
354.03 | Decoquinate, residual | LC-MS/MS | µg / kg (ppb)
354.99 | Decoquinate, residual | Miscellaneous | µg / kg (ppb)
355.00 | Erythromycin, residual | Plate | µg / kg (ppb)
355.01 | Erythromycin, residual | LC-MS | µg / kg (ppb)
355.02 | Erythromycin, residual | LC-MS/MS | µg / kg (ppb)
355.99 | Erythromycin, residual | Miscellaneous | µg / kg (ppb)
356.00 | Ethopabate, residual | Colorimetric | µg / kg (ppb)
356.01 | Ethopabate, residual | LC-UV | µg / kg (ppb)
356.02 | Ethopabate, residual | LC-Fl | µg / kg (ppb)
356.03 | Ethopabate, residual | LC-MS | µg / kg (ppb)
356.04 | Ethopabate, residual | LC-MS/MS | µg / kg (ppb)
356.99 | Ethopabate, residual | Miscellaneous | µg / kg (ppb)
357.00 | Ethoxyquin, residual | Fluorometric | µg / kg (ppb)
357.01 | Ethoxyquin, residual | LC | µg / kg (ppb)
357.02 | Ethoxyquin, residual | LC-MS | µg / kg (ppb)
357.03 | Ethoxyquin, residual | LC-MS/MS | µg / kg (ppb)
357.99 | Ethoxyquin, residual | Miscellaneous | µg / kg (ppb)
358.00 | Furazolidone, residual | Colorimetric | µg / kg (ppb)
358.01 | Furazolidone, residual | LC | µg / kg (ppb)
358.02 | Furazolidone, residual | LC-MS | µg / kg (ppb)
358.03 | Furazolidone, residual | LC-MS/MS | µg / kg (ppb)
358.99 | Furazolidone, residual | Miscellaneous | µg / kg (ppb)
359.00 | Hygromycin B, residual | Microbiological | µg / kg (ppb)
359.01 | Hygromycin B, residual | LC-MS | µg / kg (ppb)
359.02 | Hygromycin B, residual | LC-MS/MS | µg / kg (ppb)
359.99 | Hygromycin B, residual | Miscellaneous | µg / kg (ppb)
360.00 | Ipronidazole, residual | GC-ECD | µg / kg (ppb)
360.01 | Ipronidazole, residual | LC | µg / kg (ppb)
360.02 | Ipronidazole, residual | LC-MS | µg / kg (ppb)
360.03 | Ipronidazole, residual | LC-MS/MS | µg / kg (ppb)
360.99 | Ipronidazole, residual | Miscellaneous | µg / kg (ppb)
361.00 | Lasalocid sodium, residual | Microbiological | µg / kg (ppb)
361.01 | Lasalocid sodium, residual | Spectrophotometer | µg / kg (ppb)
361.02 | Lasalocid sodium, residual | LC | µg / kg (ppb) | AOAC 2008.01
361.03 | Lasalocid sodium, residual | LC-MS | µg / kg (ppb)
361.04 | Lasalocid sodium, residual | LC-MS/MS | µg / kg (ppb)
361.99 | Lasalocid sodium, residual | Miscellaneous | µg / kg (ppb)
362.00 | Levamisole, residual | GC, HCL extraction | µg / kg (ppb)
362.01 | Levamisole, residual | LC, HCl extraction | µg / kg (ppb)
362.02 | Levamisole, residual | LC-MS | µg / kg (ppb)
362.03 | Levamisole, residual | LC-MS/MS | µg / kg (ppb)
362.99 | Levamisole, residual | Miscellaneous | µg / kg (ppb)
363.00 | Lincomycin, residual | Plate | µg / kg (ppb)
363.01 | Lincomycin, residual | LC-MS | µg / kg (ppb)
363.02 | Lincomycin, residual | LC-MS/MS | µg / kg (ppb)
363.99 | Lincomycin, residual | Miscellaneous | µg / kg (ppb)
364.00 | Melengestrol Acetate, residual | GC | µg / kg (ppb)
364.01 | Melengestrol Acetate, residual | LC | µg / kg (ppb)
364.02 | Melengestrol Acetate, residual | LC-MS | µg / kg (ppb)
364.03 | Melengestrol Acetate, residual | LC-MS/MS | µg / kg (ppb)
364.99 | Melengestrol Acetate, residual | Miscellaneous | µg / kg (ppb)
365.00 | Monensin, residual | Plate | µg / kg (ppb)
365.01 | Monensin, residual | Turbidity | µg / kg (ppb)
365.02 | Monensin, residual | LC | µg / kg (ppb)
365.03 | Monensin, residual | LC-PCD | µg / kg (ppb)
365.04 | Monensin, residual | LC-MS | µg / kg (ppb)
365.05 | Monensin, residual | LC-MS/MS | µg / kg (ppb)
365.99 | Monensin, residual | Miscellaneous | µg / kg (ppb)
366.00 | Neomycin, residual | Microbiological | µg / kg (ppb)
366.01 | Neomycin, residual | LC-MS | µg / kg (ppb)
366.02 | Neomycin, residual | LC-MS/MS | µg / kg (ppb)
366.99 | Neomycin, residual | Miscellaneous | µg / kg (ppb)
367.00 | Nicarbazin, residual | Spectrophotometer | µg / kg (ppb)
367.01 | Nicarbazin, residual | LC-MS | µg / kg (ppb)
367.02 | Nicarbazin, residual | LC-MS/MS | µg / kg (ppb)
367.99 | Nicarbazin, residual | Miscellaneous | µg / kg (ppb)
368.00 | Nitrofurazone, residual | Colorimetric | µg / kg (ppb)
368.01 | Nitrofurazone, residual | LC | µg / kg (ppb)
368.02 | Nitrofurazone, residual | LC-MS | µg / kg (ppb)
368.03 | Nitrofurazone, residual | LC-MS/MS | µg / kg (ppb)
368.99 | Nitrofurazone, residual | Miscellaneous | µg / kg (ppb)
369.00 | Nitromide, residual | 3,5-Dinitrobenzamide | µg / kg (ppb)
369.01 | Nitromide, residual | LC | µg / kg (ppb)
369.02 | Nitromide, residual | LC-MS | µg / kg (ppb)
369.03 | Nitromide, residual | LC-MS/MS | µg / kg (ppb)
369.99 | Nitromide, residual | Miscellaneous | µg / kg (ppb)
370.00 | Novobiocin, residual | Microbiological | µg / kg (ppb)
370.01 | Novobiocin, residual | LC-MS | µg / kg (ppb)
370.02 | Novobiocin, residual | LC-MS/MS | µg / kg (ppb)
370.99 | Novobiocin, residual | Miscellaneous | µg / kg (ppb)
371.00 | Nystatin, residual | Microbiological | µg / kg (ppb)
371.01 | Nystatin, residual | LC-MS | µg / kg (ppb)
371.02 | Nystatin, residual | LC-MS/MS | µg / kg (ppb)
371.99 | Nystatin, residual | Miscellaneous | µg / kg (ppb)
372.00 | Ormetoprim, residual | LC | µg / kg (ppb)
372.01 | Ormetoprim, residual | LC-MS | µg / kg (ppb)
372.02 | Ormetoprim, residual | LC-MS/MS | µg / kg (ppb)
372.99 | Ormetoprim, residual | Miscellaneous | µg / kg (ppb)
373.00 | Oxytetracycline, residual | Plate | µg / kg (ppb)
373.01 | Oxytetracycline, residual | Turbidity | µg / kg (ppb)
373.02 | Oxytetracycline, residual | High mineral content feed | µg / kg (ppb)
373.03 | Oxytetracycline, residual | LC | µg / kg (ppb)
373.04 | Oxytetracycline, residual | LC-MS | µg / kg (ppb)
373.05 | Oxytetracycline, residual | LC-MS/MS | µg / kg (ppb)
373.99 | Oxytetracycline, residual | Miscellaneous | µg / kg (ppb)
374.00 | Penicillin, residual | Plate | µg / kg (ppb)
374.01 | Penicillin, residual | Premix | µg / kg (ppb)
374.02 | Penicillin, residual | LC | µg / kg (ppb)
374.03 | Penicillin, residual | LC-MS | µg / kg (ppb)
374.04 | Penicillin, residual | LC-MS/MS | µg / kg (ppb)
374.99 | Penicillin, residual | Miscellaneous | µg / kg (ppb)
375.00 | Phenothiazine, residual | Spectrophotometer | µg / kg (ppb)
375.01 | Phenothiazine, residual | LC-MS | µg / kg (ppb)
375.02 | Phenothiazine, residual | LC-MS/MS | µg / kg (ppb)
375.99 | Phenothiazine, residual | Miscellaneous | µg / kg (ppb)
376.00 | Piperazine, residual | Spectrophotometer | µg / kg (ppb)
376.01 | Piperazine, residual | LC-MS | µg / kg (ppb)
376.02 | Piperazine, residual | LC-MS/MS | µg / kg (ppb)
376.99 | Piperazine, residual | Miscellaneous | µg / kg (ppb)
377.00 | Pyrantel Tartrate, residual | Spectrophotometer | µg / kg (ppb)
377.01 | Pyrantel Tartrate, residual | LC | µg / kg (ppb)
377.02 | Pyrantel Tartrate, residual | LC-MS | µg / kg (ppb)
377.03 | Pyrantel tartrate, residual | LC-MS/MS | µg / kg (ppb)
377.99 | Pyrantel Tartrate, residual | Miscellaneous | µg / kg (ppb)
378.00 | Roxarsone, residual | Total As | µg / kg (ppb)
378.01 | Roxarsone, residual | Colorimetric | µg / kg (ppb)
378.02 | Roxarsone, residual | LC | µg / kg (ppb)
378.03 | Roxarsone, residual | LC-MS | µg / kg (ppb)
378.04 | Roxarsone, residual | LC-MS/MS | µg / kg (ppb)
378.99 | Roxarsone, residual | Miscellaneous | µg / kg (ppb)
379.00 | Salinomycin, residual | Plate | µg / kg (ppb)
379.01 | Salinomycin, residual | LC | µg / kg (ppb)
379.02 | Salinomycin, residual | Turbidity | µg / kg (ppb)
379.03 | Salinomycin, residual | LC-PCD | µg / kg (ppb)
379.04 | Salinomycin, residual | LC-MS | µg / kg (ppb)
379.05 | Salinomycin, residual | LC-MS/MS | µg / kg (ppb)
379.99 | Salinomycin, residual | Miscellaneous | µg / kg (ppb)
380.00 | Streptomycin, residual | Microbiological | µg / kg (ppb)
380.01 | Streptomycin, residual | LC-MS | µg / kg (ppb)
380.02 | Streptomycin, residual | LC-MS/MS | µg / kg (ppb)
380.99 | Streptomycin, residual | Miscellaneous | µg / kg (ppb)
381.00 | Sulfadimethoxine, residual | LC | µg / kg (ppb)
381.01 | Sulfadimethoxine, residual | LC-MS | µg / kg (ppb)
381.02 | Sulfadimethoxine, residual | LC-MS/MS | µg / kg (ppb)
381.99 | Sulfadimethoxine, residual | Miscellaneous | µg / kg (ppb)
382.00 | Sulfamethazine, residual | Spectrophotometer | µg / kg (ppb)
382.01 | Sulfamethazine, residual | LC | µg / kg (ppb)
382.02 | Sulfamethazine, residual | LC-PCD | µg / kg (ppb)
382.03 | Sulfamethazine, residual | LC-MS | µg / kg (ppb)
382.04 | Sulfamethazine, residual | LC-MS/MS | µg / kg (ppb)
382.99 | Sulfamethazine, residual | Miscellaneous | µg / kg (ppb)
383.00 | Sulfanitran, residual | APNPS | µg / kg (ppb)
383.01 | Sulfanitran, residual | LC | µg / kg (ppb)
383.02 | Sulfanitran, residual | LC-MS | µg / kg (ppb)
383.03 | Sulfanitran, residual | LC-MS/MS | µg / kg (ppb)
383.99 | Sulfanitran, residual | Miscellaneous | µg / kg (ppb)
384.00 | Sulfaquinoxaline, residual | Spectrophotometer | µg / kg (ppb)
384.01 | Sulfaquinoxaline, residual | LC | µg / kg (ppb)
384.02 | Sulfaquinoxaline, residual | LC-MS | µg / kg (ppb)
384.04 | Sulfaquinoxaline, residual | LC-MS/MS | µg / kg (ppb)
384.99 | Sulfaquinoxaline, residual | Miscellaneous | µg / kg (ppb)
385.00 | Sulfathiazole, residual | Colorimetric | µg / kg (ppb)
385.01 | Sulfathiazole, residual | LC | µg / kg (ppb)
385.02 | Sulfathiazole, residual | LC-PCD | µg / kg (ppb)
385.03 | Sulfathiazole, residual | LC-MS | µg / kg (ppb)
385.04 | Sulfathiazole, residual | LC-MS/MS | µg / kg (ppb)
385.99 | Sulfathiazole, residual | Miscellaneous | µg / kg (ppb)
386.00 | Tiamulin, residual | LC | µg / kg (ppb)
386.01 | Tiamulin, residual | LC-MS | µg / kg (ppb)
386.02 | Tiamulin, residual | LC-MS/MS | µg / kg (ppb)
386.99 | Tiamulin, residual | Miscellaneous | µg / kg (ppb)
387.00 | Thiabendazole, residual | Spectrophotometer | µg / kg (ppb)
387.01 | Thiabendazole, residual | LC | µg / kg (ppb)
387.02 | Thiabendazole, residual | LC-MS | µg / kg (ppb)
387.03 | Thiabendazole, residual | LC-MS/MS | µg / kg (ppb)
387.99 | Thiabendazole, residual | Miscellaneous | µg / kg (ppb)
388.00 | Tylosin, residual | Plate | µg / kg (ppb)
388.01 | Tylosin, residual | Turbidity | µg / kg (ppb)
388.02 | Tylosin, residual | Plate, with hydrolysis | µg / kg (ppb)
388.03 | Tylosin, residual | LC | µg / kg (ppb)
388.04 | Tylosin, residual | LC-MS | µg / kg (ppb)
388.05 | Tylosin, residual | LC-MS/MS | µg / kg (ppb)
388.99 | Tylosin, residual | Miscellaneous | µg / kg (ppb)
389.00 | Virginiamycin, residual | Plate | µg / kg (ppb)
389.01 | Virginiamycin, residual | LC-MS | µg / kg (ppb)
389.02 | Virginiamycin, residual | LC-MS/MS | µg / kg (ppb)
389.99 | Virginiamycin, residual | Miscellaneous | µg / kg (ppb)
390.00 | Zoalene, residual | LC | µg / kg (ppb)
390.01 | Zoalene, residual | LC-MS | µg / kg (ppb)
390.02 | Zoalene, residual | LC-MS/MS | µg / kg (ppb)
390.99 | Zoalene, residual | Miscellaneous | µg / kg (ppb)
391.00 | Narasin, residual | LC-PCD | µg / kg (ppb)
391.01 | Narasin, residual | LC-MS | µg / kg (ppb)
391.02 | Narasin, residual | LC-MS/MS | µg / kg (ppb)
391.99 | Narasin, residual | Miscellaneous | µg / kg (ppb)
392.00 | Fenbendazole, residual | LC | µg / kg (ppb)
392.01 | Fenbendazole, residual | LC-MS | µg / kg (ppb)
392.02 | Fenbendazole, residual | LC-MS/MS | µg / kg (ppb)
393.00 | Ractopamine Hydrochloride, residual | LC | µg / kg (ppb)
393.01 | Ractopamine Hydrochloride, residual | LC-MS | µg / kg (ppb)
393.02 | Ractopamine Hydrochloride, residual | LC-MS/MS | µg / kg (ppb)
393.99 | Ractopamine Hydrochloride, residual | Miscellaneous | µg / kg (ppb)
400.01 | Water activity | Aqualab chilled mirror | Units
400.99 | Water activity | Miscellaneous | Units
516.00 | Arsenic, total | AA, Hydride | mg / kg (ppm)
516.01 | Arsenic, total | Colorimeter | mg / kg (ppm) | AOAC: 957.22
516.34 | Arsenic, total | AAS, Graphite furnace | mg / kg (ppm)
516.42 | Arsenic, total | ICP, Open vessel | mg / kg (ppm)
516.43 | Arsenic, total | ICP, Microwave | mg / kg (ppm)
516.52 | Arsenic, total | ICP-MS, Open vessel | mg / kg (ppm)
516.53 | Arsenic, total | ICP-MS, Microwave | mg / kg (ppm)
516.99 | Arsenic, total | Miscellaneous | mg / kg (ppm)
518.31 | Cadmium | AAS, Dry ash | mg / kg (ppm)
518.32 | Cadmium | AAS, Open vessel | mg / kg (ppm)
518.33 | Cadmium | AAS, Microwave | mg / kg (ppm)
518.34 | Cadmium | AAS, Graphite furnace | mg / kg (ppm)
518.41 | Cadmium | ICP, Dry ash | mg / kg (ppm)
518.42 | Cadmium | ICP, Open vessel | mg / kg (ppm)
518.43 | Cadmium | ICP, Microwave | mg / kg (ppm)
518.51 | Cadmium | ICP-MS, Dry ash | mg / kg (ppm)
518.52 | Cadmium | ICP-MS, Open vessel | mg / kg (ppm)
518.53 | Cadmium | ICP-MS, Microwave | mg / kg (ppm)
518.99 | Cadmium | Miscellaneous | mg / kg (ppm)
520.31 | Chromium | AAS, Dry ash | mg / kg (ppm)
520.32 | Chromium | AAS, Open vessel | mg / kg (ppm)
520.33 | Chromium | AAS, Microwave | mg / kg (ppm)
520.34 | Chromium | AAS, Graphite furnace | mg / kg (ppm)
520.41 | Chromium | ICP, Dry ash | mg / kg (ppm)
520.42 | Chromium | ICP, Open vessel | mg / kg (ppm)
520.43 | Chromium | ICP, Microwave | mg / kg (ppm)
520.51 | Chromium | ICP-MS, Dry ash | mg / kg (ppm)
520.52 | Chromium | ICP-MS, Open vessel | mg / kg (ppm)
520.53 | Chromium | ICP-MS, Microwave | mg / kg (ppm)
520.99 | Chromium | Miscellaneous | mg / kg (ppm)
526.31 | Lead | AAS, Dry ash | mg / kg (ppm)
526.32 | Lead | AAS, Open vessel | mg / kg (ppm)
526.33 | Lead | AAS, Microwave | mg / kg (ppm)
526.34 | Lead | AAS, Graphite furnace | mg / kg (ppm)
526.41 | Lead | ICP, Dry ash | mg / kg (ppm)
526.42 | Lead | ICP, Open vessel | mg / kg (ppm)
526.43 | Lead | ICP, Microwave | mg / kg (ppm)
526.51 | Lead | ICP-MS, Dry ash | mg / kg (ppm)
526.52 | Lead | ICP-MS, Open vessel | mg / kg (ppm)
526.53 | Lead | ICP-MS, Microwave | mg / kg (ppm)
526.99 | Lead | Miscellaneous | mg / kg (ppm)
529.00 | Mercury | Cold vapor | µg / kg (ppb)
529.99 | Mercury | Miscellaneous | µg / kg (ppb)
539.31 | Nickel | AAS, Dry ash | mg / kg (ppm)
539.32 | Nickel | AAS, Open vessel | mg / kg (ppm)
539.33 | Nickel | AAS, Microwave | mg / kg (ppm)
539.34 | NIckel | AAS, Graphite furnace | mg / kg (ppm)
539.41 | Nickel | ICP, Dry ash | mg / kg (ppm)
539.42 | Nickel | ICP, Open vessel | mg / kg (ppm)
539.43 | Nickel | ICP, Microwave | mg / kg (ppm)
539.51 | Nickel | ICP-MS, Dry ash | mg / kg (ppm)
539.52 | Nickel | ICP-MS, Open vessel | mg / kg (ppm)
539.53 | Nickel | ICP-MS, Microwave | mg / kg (ppm)
539.99 | Nickel | Miscellaneous | mg / kg (ppm)
600.01 | Total Aflatoxin | Neogen Veratox Aflatoxin | µg / kg (ppb) | AOAC: 990.32
600.02 | Total Aflatoxin | Neogen Veratox Aflatoxin HS | µg / kg (ppb)
600.03 | Total Aflatoxin | Charm ROSA Fast Aflatoxin Quant | µg / kg (ppb)
600.04 | Total Aflatoxin | Charm ROSA Fast 5 Aflatoxin Quant | µg / kg (ppb)
600.05 | Total Aflatoxin | Charm ROSA Aflatoxin Quant - MeOH | µg / kg (ppb)
600.06 | Total Aflatoxin | Charm ROSA Aflatoxin Quant - EtOH | µg / kg (ppb)
600.07 | Total Aflatoxin | Romer AgraQuant Total Afl 1-20ppb | µg / kg (ppb)
600.08 | Total Aflatoxin | Romer AgraQuant Total Afl 4-40ppb | µg / kg (ppb)
600.10 | Total Aflatoxin | TLC | µg / kg (ppb) | AOCS: Aj 3-87
600.11 | Total Aflatoxin | r-Biopharm Ridascreen Afl total | µg / kg (ppb)
600.12 | Total Aflatoxin | r-Biopharm Ridascreen FAST Afl | µg / kg (ppb)
600.13 | Total Aflatoxin | r-Biopharm Ridascreen FAST Afl SC | µg / kg (ppb)
600.14 | Total Aflatoxin | Vicam Aflatest | µg / kg (ppb)
600.15 | Total Aflatoxin | Vicam Afla-V | µg / kg (ppb)
600.20 | Total Aflatoxin | LC | µg / kg (ppb)
600.21 | Total Aflatoxin | LC-PCD Fl | µg / kg (ppb) | AOAC: 2005.08, AOCS: Aa11-05
600.22 | Total Aflatoxin | Vicam Aflatest, LC-Fl | µg / kg (ppb) | AOAC: 991.31, AOCS: Ab7-91
600.23 | Total Aflatoxin | LC-MS | µg / kg (ppb)
600.24 | Total Aflatoxin | LC-MS/MS | µg / kg (ppb)
600.98 | Total Aflatoxin | Other Rapid Test Kit | µg / kg (ppb)
600.99 | Total Aflatoxin | Miscellaneous | µg / kg (ppb)
601.20 | AB1 | LC | µg / kg (ppb)
601.21 | AB1 | LC-PCD Fl | µg / kg (ppb) | AOAC: 2005.08, AOCS: Aa11-05
601.22 | AB1 | LC-MS | µg / kg (ppb)
601.23 | AB1 | LC-MS/MS | µg / kg (ppb)
601.24 | AB1 | Vicam Aflatest, LC-Fl | µg / kg (ppb) | AOAC: 991.31, AOCS: Ab7-91
601.25 | AB1 | LC-PCD PB/PB electrochem der Fl | µg / kg (ppb) | AOAC: 2003.02
601.91 | AB1 | Romer AgraQuant Afl B1 | µg / kg (ppb)
601.92 | AB1 | r-Biopharm Ridascreen Afl B1l | µg / kg (ppb)
601.98 | AB1 | Other Rapid Test Kit | µg / kg (ppb)
601.99 | AB1 | Miscellaneous | µg / kg (ppb)
602.20 | AB2 | LC | µg / kg (ppb)
602.21 | AB2 | LC-PCD Fl | µg / kg (ppb) | AOAC: 2005.08, AOCS: Aa11-05
602.22 | AB2 | LC-MS | µg / kg (ppb)
602.23 | AB2 | LC-MS/MS | µg / kg (ppb)
602.24 | AB2 | Vicam Aflatest, LC-Fl | µg / kg (ppb) | AOAC: 991.31, AOCS: Ab7-91
602.98 | AB2 | Other Rapid Test Kit | µg / kg (ppb)
602.99 | AB2 | Miscellaneous | µg / kg (ppb)
603.20 | AG1 | LC | µg / kg (ppb)
603.21 | AG1 | LC-PCD Fl | µg / kg (ppb) | AOAC: 2005.08, AOCS: Aa11-05
603.22 | AG1 | LC-MS | µg / kg (ppb)
603.23 | AG1 | LC-MS/MS | µg / kg (ppb)
603.24 | AG1 | Vicam Aflatest, LC-Fl | µg / kg (ppb) | AOAC: 991.31, AOCS: Ab7-91
603.98 | AG1 | Other Rapid Test Kit | µg / kg (ppb)
603.99 | AG1 | Miscellaneous | µg / kg (ppb)
604.20 | AG2 | LC | µg / kg (ppb)
604.21 | AG2 | LC-PCD Fl | µg / kg (ppb) | AOAC: 2005.08, AOCS: Aa11-05
604.22 | AG2 | LC-MS | µg / kg (ppb)
604.23 | AG2 | LC-MS/MS | µg / kg (ppb)
604.24 | AG2 | Vicam Aflatest, LC-Fl | µg / kg (ppb) | AOAC: 991.31, AOCS: Ab7-91
604.98 | AG2 | Other Rapid Test Kit | µg / kg (ppb)
604.99 | AG2 | Miscellaneous | µg / kg (ppb)
610.01 | Deoxynivalenol | Neogen Veratox for DON | µg / kg (ppb)
610.02 | Deoxynivalenol | Neogen Veratox for DON HS | µg / kg (ppb)
610.03 | Deoxynivalenol | Charm ROSA DON Quant | µg / kg (ppb)
610.04 | Deoxynivalenol | Charm ROSA Fast 5 DON Quant | µg / kg (ppb)
610.05 | Deoxynivalenol | Romer AgraQuant DON | µg / kg (ppb)
610.06 | Deoxynivalenol | r-Biopharm Ridascreen DON | µg / kg (ppb)
610.07 | Deoxynivalenol | r-Biopharm Ridascreen FAST DON | µg / kg (ppb)
610.08 | Deoxynivalenol | r-Biopharm Ridascreen FAST DON SC | µg / kg (ppb)
610.09 | Deoxynivalenol | Vicam DON-V | µg / kg (ppb)
610.10 | Deoxynivalenol | TLC | µg / kg (ppb)
610.20 | Deoxynivalenol | LC | µg / kg (ppb)
610.21 | Deoxynivalenol | LC-Fl | µg / kg (ppb)
610.22 | Deoxynivalenol | LC-MS | µg / kg (ppb)
610.23 | Deoxynivalenol | LC-MS/MS | µg / kg (ppb)
610.24 | Deoxynivalenol | GC-ECD | µg / kg (ppb) | AOAC: 986.18
610.25 | Deoxynivalenol | GC-MS | µg / kg (ppb)
610.98 | Deoxynivalenol | Other Rapid Test Kit | µg / kg (ppb)
610.99 | Deoxynivalenol | Miscellaneous | µg / kg (ppb)
620.01 | Total Fumonisin | Neogen Veratox Fumonisin | µg / kg (ppb)
620.02 | Total Fumonisin | Neogen Veratox Fumonisin 5/10 | µg / kg (ppb)
620.03 | Total Fumonisin | Neogen Veratox Fumonisin HS | µg / kg (ppb)
620.04 | Total Fumonisin | Charm ROSA Fast 5 FUMQ | µg / kg (ppb)
620.05 | Total Fumonisin | Charm ROSA FUMQ MeOH | µg / kg (ppb)
620.06 | Total Fumonisin | Charm ROSA FUMQ EtOH | µg / kg (ppb)
620.07 | Total Fumonisin | Romer AgraQuant Total Fumonisin | µg / kg (ppb)
620.08 | Total Fumonisin | r-Biopharm Ridascreen Fumonisin | µg / kg (ppb)
620.09 | Total Fumonisin | r-Biopharm Ridascreen FAST FUM | µg / kg (ppb)
620.10 | Total Fumonisin | TLC | µg / kg (ppb)
620.11 | Total Fumonisin | Vicam Fumonitest | µg / kg (ppb)
620.12 | Total Fumonisin | Vicam Fumonitest 200 | µg / kg (ppb)
620.13 | Total Fumonisin | Vicam Fumo-V | µg / kg (ppb)
620.20 | Total Fumonisin | LC | µg / kg (ppb)
620.21 | Total Fumonisin | LC-Fl OPA der. | µg / kg (ppb)
620.22 | Total Fumonisin | LC-MS | µg / kg (ppb)
620.23 | Total Fumonisin | LC-MS/MS | µg / kg (ppb)
620.98 | Total Fumonisin | Other Rapid Test Kit | µg / kg (ppb)
620.99 | Total Fumonisin | Miscellaneous | µg / kg (ppb)
621.10 | FB1 | TLC | µg / kg (ppb)
621.20 | FB1 | LC | µg / kg (ppb)
621.21 | FB1 | LC-Fl OPA der. | µg / kg (ppb) | AOCS: Aj 5a-97
621.22 | FB1 | LC-MS | µg / kg (ppb)
621.23 | FB1 | LC-MS/MS | µg / kg (ppb)
621.98 | FB1 | Other Rapid Test Kit | µg / kg (ppb)
621.99 | FB1 | Miscellaneous | µg / kg (ppb)
622.10 | FB2 | TLC | µg / kg (ppb)
622.20 | FB2 | LC | µg / kg (ppb)
622.21 | FB2 | LC-Fl OPA der. | µg / kg (ppb) | AOCS: Aj 5a-97
622.22 | FB2 | LC-MS | µg / kg (ppb)
622.23 | FB2 | LC-MS/MS | µg / kg (ppb)
622.98 | FB2 | Other Rapid Test Kit | µg / kg (ppb)
622.99 | FB2 | Miscellaneous | µg / kg (ppb)
623.10 | FB3 | TLC | µg / kg (ppb)
623.20 | FB3 | LC | µg / kg (ppb)
623.21 | FB3 | LC-Fl OPA der. | µg / kg (ppb) | AOCS: Aj 5a-97
623.22 | FB3 | LC-MS | µg / kg (ppb)
623.23 | FB3 | LC-MS/MS | µg / kg (ppb)
623.98 | FB3 | Other Rapid Test Kit | µg / kg (ppb)
623.99 | FB3 | Miscellaneous | µg / kg (ppb)
630.01 | Ochratoxin A | Neogen Veratox Ochratoxin | µg / kg (ppb)
630.02 | Ochratoxin A | Charm ROSA Ochratoxin | µg / kg (ppb)
630.03 | Ochratoxin A | Romer AgraQuant Ochratoxin | µg / kg (ppb)
630.04 | Ochratoxin A | r-Biopharm Ridascreen Ochratoxin A | µg / kg (ppb)
630.05 | Ochratoxin A | r-Biopharm Ridascreen FAST Och A | µg / kg (ppb)
630.06 | Ochratoxin A | Vicam OchraTest | µg / kg (ppb)
630.10 | Ochratoxin A | TLC | µg / kg (ppb)
630.20 | Ochratoxin A | LC | µg / kg (ppb)
630.21 | Ochratoxin A | LC-PCD Fl | µg / kg (ppb)
630.22 | Ochratoxin A | LC-MS | µg / kg (ppb)
630.23 | Ochratoxin A | LC-MS/MS | µg / kg (ppb)
630.98 | Ochratoxin A | Other Rapid Test Kit | µg / kg (ppb)
630.99 | Ochratoxin A | Miscellaneous | µg / kg (ppb)
640.03 | T-2 | Romer AgraQuant T-2 | µg / kg (ppb)
640.04 | T-2 | r-Biopharm Ridascreen T-2 | µg / kg (ppb)
640.05 | T-2 | r-Biopharm Ridascreen FAST T-2 | µg / kg (ppb)
640.10 | T-2 | TLC | µg / kg (ppb)
640.20 | T-2 | LC | µg / kg (ppb)
640.21 | T-2 | LC-PCD Fl | µg / kg (ppb)
640.22 | T-2 | LC-MS | µg / kg (ppb)
640.23 | T-2 | LC-MS/MS | µg / kg (ppb)
640.24 | T-2 | GC-ECD | µg / kg (ppb)
640.25 | T-2 | GC-MS | µg / kg (ppb)
640.98 | T-2 | Other Rapid Test Kit | µg / kg (ppb)
640.99 | T-2 | Miscellaneous | µg / kg (ppb)
641.10 | HT-2 | TLC | ug/kg (ppb)
641.20 | HT-2 | LC | ug/kg (ppb)
641.21 | HT-2 | LC post-col photochem der. Fl | ug/kg (ppb)
641.22 | HT-2 | LC-MS | ug/kg (ppb)
641.23 | HT-2 | LC-MS/MS | ug/kg (ppb)
641.24 | HT-2 | GC-ECD | ug/kg (ppb)
641.25 | HT-2 | GC-MS | ug/kg (ppb)
641.99 | HT-2 | Miscellaneous Technique | ug/kg (ppb)
642.01 | T-2 + HT-2 | TLC | ug/kg (ppb)
642.02 | T-2 + HT-2 | LC | ug/kg (ppb)
642.03 | T-2 + HT-2 | LC post-col photochem der. Fl | ug/kg (ppb)
642.04 | T-2 + HT-2 | LC-MS | ug/kg (ppb)
642.98 | T-2 + HT-2 | Other Rapid Test Kit | ug/kg (ppb)
642.99 | T-2 + HT-2 | Miscellaneous Technique | ug/kg (ppb)
650.01 | Zearalenone | Neogen Veratox Zearalenone | µg / kg (ppb)
650.02 | Zearalenone | Charm ROSA Zearalenone Quant - MeOH | µg / kg (ppb)
650.03 | Zearalenone | Charm ROSA Zearalenone Quant - EtOH | µg / kg (ppb)
650.04 | Zearalenone | Romer AgraQuant ZON | µg / kg (ppb)
650.05 | Zearalenone | r-Biopharm Ridascreen Zearalenon | µg / kg (ppb)
650.06 | Zearalenone | r-Biopharm Ridascreen FAST ZON | µg / kg (ppb)
650.07 | Zearalenone | r-Biopharm Ridascreen FAST ZON SC | µg / kg (ppb)
650.10 | Zearalenone | TLC | µg / kg (ppb)
650.20 | Zearalenone | LC | µg / kg (ppb)
650.21 | Zearalenone | LC-Fl, ISO | µg / kg (ppb) | ISO: 17372:2008
650.22 | Zearalenone | LC-Fl, AOCS | µg / kg (ppb) | AOCS: Aj 2-86
650.23 | Zearalenone | LC-MS | µg / kg (ppb)
650.24 | Zearalenone | LC-MS/MS | µg / kg (ppb)
650.98 | Zearalenone | Other Rapid Test Kit | µg / kg (ppb)
650.99 | Zearalenone | Miscellaneous | µg / kg (ppb)
701.00 | Proprionic Acid (3:0) | Miscellaneous GC | %
702.00 | Butyric Acid (4:0) | Miscellaneous GC | %
703.00 | Valeric Acid (5:0) | Miscellaneous GC | %
704.00 | Caproic Acid (6:0) | Miscellaneous GC | %
706.01 | Caprylic acid (8:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
706.02 | Caprylic acid (8:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
706.99 | Caprylic acid (8:0) | Miscellaneous | % (w/w)
708.01 | Capric acid (10:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
708.02 | Capric acid (10:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
708.99 | Capric acid (10:0) | Miscellaneous | % (w/w)
710.01 | Lauric Acid (12:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
710.02 | Lauric Acid (12:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
710.99 | Lauric Acid (12:0) | Miscellaneous | % (w/w)
714.01 | Myristic Acid (14:0 ) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
714.02 | Myristic Acid (14:0 ) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
714.99 | Myristic Acid (14:0 ) | Miscellaneous | % (w/w)
716.01 | Palmitic Acid (16:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
716.02 | Palmitic Acid (16:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
716.99 | Palmitic Acid (16:0) | Miscellaneous | % (w/w)
718.01 | Palmitoleic Acid (9c-16:1) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
718.02 | Palmitoleic Acid (9c-16:1) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
718.99 | Palmitoleic Acid (9c-16:1) | Miscellaneous | % (w/w)
720.01 | Margaric acid (17:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
720.02 | Margaric acid (17:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
720.99 | Margaric acid (17:0) | Miscellaneous | % (w/w)
722.01 | Stearic Acid (18:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
722.02 | Stearic Acid (18:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
722.99 | Stearic Acid (18:0) | Miscellaneous | % (w/w)
724.01 | Oleic Acid (9c-18:1) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
724.02 | Oleic Acid (9c-18:1) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
724.99 | Oleic Acid (9c-18:1) | Miscellaneous | % (w/w)
726.01 | Linoleic Acid (9c,12c-18:2) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
726.02 | Linoleic Acid (9c,12c-18:2) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
726.99 | Linoleic Acid (9c,12c-18:2) | Miscellaneous | % (w/w)
728.01 | alpha-Linolenic Acid (9c,12c,15c-18:3) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
728.02 | alpha-Linolenic Acid (9c,12c,15c-18:3) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
728.99 | alpha-Linolenic Acid (9c,12c,15c-18:3) | Miscellaneous | % (w/w)
730.01 | Arachidic Acid (20:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
730.02 | Arachidic Acid (20:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
730.99 | Arachidic Acid (20:0) | Miscellaneous | % (w/w)
732.01 | Gondoic Acid (11c-20:1) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
732.02 | Gondoic Acid (11c-20:1) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
732.99 | Gondoic Acid (11c-20:1) | Miscellaneous | % (w/w)
736.01 | Arachidonic Acid (5c,8c,11c,14c-20:4) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
736.02 | Arachidonic Acid (5c,8c,11c,14c-20:4) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
736.99 | Arachidonic Acid (5c,8c,11c,14c-20:4) | Miscellaneous | % (w/w)
738.01 | Mead Acid (11c,14c,17c-20:3) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
738.02 | Mead Acid (11c,14c,17c-20:3) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
738.99 | Mead Acid (11c,14c,17c-20:3) | Miscellaneous | % (w/w)
740.01 | Eicosapentaenoic Acid EPA (5c,8c,11c,14c,17c-20:5) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
740.02 | Eicosapentaenoic Acid EPA (5c,8c,11c,14c,17c-20:5) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
740.99 | Eicosapentaenoic Acid EPA (5c,8c,11c,14c,17c-20:5) | Miscellaneous | % (w/w)
742.01 | Behenic Acid (22:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
742.02 | Behenic Acid (22:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
742.99 | Behenic Acid (22:0) | Miscellaneous | % (w/w)
744.01 | Erucic Acid (13c-22:1) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
744.02 | Erucic Acid (13c-22:1) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
744.99 | Erucic Acid (13c-22:1) | Miscellaneous | % (w/w)
746.01 | Docosapentaenoic Acid n-3 DPA (DHA)7c,10c,13c,16c,19c-22:5) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
746.02 | Docosapentaenoic Acid n-3 DPA (DHA)7c,10c,13c,16c,19c-22:5) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
746.99 | Docosapentaenoic Acid n-3 DPA (DHA)7c,10c,13c,16c,19c-22:5) | Miscellaneous | % (w/w)
748.01 | Lignoceric Acid (24:0) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
748.02 | Lignoceric Acid (24:0) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
748.99 | Lignoceric Acid (24:0) | Miscellaneous | % (w/w)
750.01 | Docosahexaenoic Acid DHA (4c,7c,10c,13c,16c,19c-22:6) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
750.02 | Docosahexaenoic Acid DHA (4c,7c,10c,13c,16c,19c-22:6) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
750.99 | Docosahexaenoic Acid DHA (4c,7c,10c,13c,16c,19c-22:6) | Miscellaneous | % (w/w)
752.01 | Nervonic Acid (24:1) isomers | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
752.02 | Nervonic Acid (24:1) isomers | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
752.99 | Nervonic Acid (24:1) isomers | Miscellaneous | % (w/w)
754.01 | Total n-3 Polyunsaturated (Omega-3) Fatty Acids | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
754.02 | Total n-3 Polyunsaturated (Omega-3) Fatty Acids | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
754.99 | Total n-3 Polyunsaturated (Omega-3) Fatty Acids | Miscellaneous | % (w/w)
756.01 | Total n-6 Polyunsaturated (Omega-6) Fatty Acids | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
756.02 | Total n-6 Polyunsaturated (Omega-6) Fatty Acids | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
756.99 | Total n-6 Polyunsaturated (Omega-6) Fatty Acids | Miscellaneous | % (w/w)
758.01 | Total Saturated Fatty Acids | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
758.02 | Total Saturated Fatty Acids | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
758.99 | Total Saturated Fatty Acids | Miscellaneous | % (w/w)
762.01 | Total Monounsaturated Fatty Acids | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
762.02 | Total Monounsaturated Fatty Acids | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
762.99 | Total Monounsaturated Fatty Acids | Miscellaneous | % (w/w)
764.01 | Total cis Monounsaturated Fatty Acids | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
764.02 | Total cis Monounsaturated Fatty Acids | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
764.99 | Total cis Monounsaturated Fatty Acids | Miscellaneous | % (w/w)
766.01 | Total Polyunsaturated Fatty Acids | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
766.02 | Total Polyunsaturated Fatty Acids | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
766.99 | Total Polyunsaturated Fatty Acids | Miscellaneous | % (w/w)
768.01 | Total cis Polyunsaturated Fatty Acids | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
768.02 | Total cis Polyunsaturated Fatty Acids | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
768.99 | Total cis Polyunsaturated Fatty Acids | Miscellaneous | % (w/w)
770.01 | Total Fat (equivlaent to NLEA) | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
770.02 | Total Fat (equivlaent to NLEA) | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
770.99 | Total Fat (equivlaent to NLEA) | Miscellaneous | % (w/w)
772.01 | Total Fatty Acids | Direct Methylation by Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2b-11 (13)
772.02 | Total Fatty Acids | Direct Methylation by Acid-Alkali Hydrolysis & GC | % (w/w) | AOCS Ce 1j-07 and Ce 2c-11 (13)
772.99 | Total Fatty Acids | Miscellaneous | % (w/w)